## Sheet 1
S.No. | SD No. | Element Name | RPC Shut Down Range | RPC Remarks | Reason | Req. on D-3 basis
1 | RQ61706 | 400/220 KV 315 MVA ICT 1 AT AJMER(RS) | 02-08-2021 08:00 - 02-08-2021 18:00 |  | HALF YEARLY MAINTENANCE & TESTING WORK OF BAY & EQUIPMENTS | 30.07.2021
2 | RQ61414 | 765 KV ANTA-PHAGI (RS) CKT-2 | 02-08-2021 08:00 - 02-08-2021 18:00 |  | Maitenance of line bay equipments i.e. CVT, WT, LA & line Isolator & Maintenance of Reactors & taking R-Phase in ckt. Inplace of Spare rector at Phagi end | 30.07.2021
3 | RQ61712 | 400/220 KV 315 MVA ICT 1 AT MERTA(RS) | 02-08-2021 08:00 - 04-08-2021 18:00 |  | For Overhauling of OLTC of 400/220/33KV,315 MVA ILT-I(Alstom) by M/s CTR on continuous basis. | 30.07.2021
4 | RQ61707 | 400/220 KV 315 MVA ICT 2 AT SURATGARH(RVUN) | 03-08-2021 08:00 - 03-08-2021 18:00 |  | Maintenance & tightness of Circuit Breaker, Isolators and other switchyard equipments. | 31.07.2021
5 | RQ61694 | 400KV BUS 1 AT AJMER(RS) | 03-08-2021 08:00 - 03-08-2021 18:00 |  | HALF YEARLY MAINTENANCE & TESTING WORK OF 400 KV MAIN BUS BAR-I | 31.07.2021
6 | RQ61701 | 50 MVAR BUS REACTOR NO 1 AT 400KV BIKANER(RS) | 03-08-2021 08:00 - 03-08-2021 18:00 |  | Due to defective tie Breaker, 50MVAR Bus Reactor will remain OFF during Routine Bay maintenance of Bianer-STPS line at Bikaner. | 31.07.2021
7 | RQ61858 | 400 KV SURATGARH(RVUN)-BIKANER(RS) (RS) CKT-1 | 03-08-2021 08:00 - 03-08-2021 18:00 |  | Routine Bay maintenance | 31.07.2021
8 | RQ61711 | 400/220 KV 315 MVA ICT 3 AT AJMER(RS) | 04-08-2021 08:00 - 04-08-2021 18:00 |  | MAINTENANCE & TESTING WORK | 01.08.2021
9 | RQ61413 | 765 KV PHAGI(RS)-BHIWANI(PG) (PG) CKT-1 | 04-08-2021 08:00 - 04-08-2021 18:00 |  | To attend the earth switch isolator of Y-Phase & Maitenance of line bay equipments i.e. CVT, WT, LA & line Isolator .at Phagi | 01.08.2021
10 | RQ62501 | 400 KV SURATGARH(RVUN)-BIKANER(RS) (RS) CKT-1 | 04-08-2021 08:00 - 04-08-2021 18:00 |  | Routine Bay maintenance | 01.08.2021
11 | RQ63243 | 50 MVAR BUS REACTOR NO 1 AT 400KV BIKANER(RS) | 04-08-2021 08:00 - 04-08-2021 18:00 |  | Due to defective tie Breaker, 50MVAR Bus Reactor will remain OFF during Routine Bay maintenance of Bianer-STPS line at Bikaner. | 01.08.2021
12 | RQ61856 | 400 KV SIKAR(PG)-RATANGARH(RS) (PG) CKT-1 | 05-08-2021 08:00 - 05-08-2021 18:00 |  | Testing of saturation of R-Ph Main CT of 400 kV RTGH-Sikar(Pg) Line will be carried out by Protection Team and Maintenance work of bay equipments , isolators and testing work of bay equipments. | 02.08.2021
13 | RQ61418 | 70652A MAIN BAY - 765KV PHAGI(RS)-GWALIOR(PG) (UNDEF) CKT-1 AT PHAGI(RS) | 05-08-2021 08:00 - 05-08-2021 18:00 |  | 1. Maintenance of CB & CTs 2. Tightening of clamps & connectors of Isolators, CB & CTs. | 02.08.2021
14 | RQ61724 | 408 TIE BAY - 400/220KV 315 MVA ICT 1 AT AJMER(RS) AND 400KV PHAGI-AJMER (RS) CKT-1 | 05-08-2021 10:00 - 05-08-2021 14:00 |  | HALF YEARLY MAINTENANCE & TESTING WORK OF BAY & EQUIPMENTS | 02.08.2021
15 | RQ61705 | 400/220 KV 315 MVA ICT 2 AT MERTA(RS) | 05-08-2021 10:00 - 07-08-2021 17:00 |  | For Overhauling of OLTC of 400/220/33KV,315 MVA ILT-II(Areva) by M/s CTR on continuous basis. | 02.08.2021
16 | RQ61852 | 400 KV BIKANER(PG)-BIKANER(RS) (PG) CKT-1 | 05-08-2021 18:00 - 05-08-2021 23:00 |  | Routine Bay maintenance | 02.08.2021
17 | RQ61844 | 400 KV BIKANER-BHADLA (RS) CKT-1 | 05-08-2021 18:00 - 06-08-2021 04:00 | Could be taken after 1800 Hrs | Quarterly Maintenance work of Bay equipments of line & its 50MVAR Reactor at 400KV GSS Bhadla and Routine Bay maintenance at Bikaner end | 02.08.2021
18 | RQ61722 | 420 TIE BAY - 400 KV AJMER(RS)-AJMER(PG) (PG) CKT-2 AND FUTURE AT 400 KV AJMER(RS) | 06-08-2021 09:00 - 06-08-2021 13:00 |  | HALF YEARLY MAINTENANCE & TESTING WORK OF BAY & EQUIPMENTS | 03.08.2021
19 | RQ63178 | 400 KV BIKANER(PG)-BIKANER(RS) (PG) CKT-1 | 06-08-2021 18:00 - 06-08-2021 23:00 |  | Routine Bay maintenance | 03.08.2021
20 | RQ61723 | 423 TIE BAY - 400 KV AJMER(RS)-AJMER(PG) (PG) CKT-1 AND FUTURE AT 400 KV AJMER(RS) | 07-08-2021 09:00 - 07-08-2021 13:00 |  | HALF YEARLY MAINTENANCE & TESTING WORK OF BAY & EQUIPMENTS | 04.08.2021
21 | RQ61857 | 400 KV SIKAR(PG)-RATANGARH(RS) (PG) CKT-2 | 10-08-2021 08:00 - 10-08-2021 18:00 |  | Maintenance work of bay equipments, isolators and testing work of bay equipments. | 07.08.2021
22 | RQ61840 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-1 | 10-08-2021 08:00 - 10-08-2021 18:00 |  | 2 HALF YEARLY MAINTENANCE at Anta and Annual maintenance and testing of bay equipment's at Kawai end. | 07.08.2021
23 | RQ61861 | 400 KV MERTA-HEERAPURA (RS) CKT-1 | 10-08-2021 08:00 - 11-08-2021 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS and for attending DT Received and Send problem on continuous basis. | 07.08.2021
24 | RQ61859 | 220 KV INDIRA NAGAR(RS)-HEERAPURA(RS) (PG) CKT-1 | 11-08-2021 08:00 - 11-08-2021 18:00 |  | Quartererly maintenance of Bay Equipment | 08.08.2021
25 | RQ61719 | 40552T TIE BAY - 400KV BASSI(PG)-PHAGI(RS) (PG) CKT-1 AND FUTURE AT PHAGI(RS) | 11-08-2021 08:00 - 11-08-2021 18:00 |  | (1) To measure the operation timings of CB. (2) Measurement of Tan-delta of CTS . (3) Tighetening of clamps & connectors. | 08.08.2021
26 | RQ61702 | 125 MVAR BUS REACTOR NO 2 AT 400KV BIKANER(RS) | 11-08-2021 08:00 - 11-08-2021 18:00 |  | Routine Bay maintenance | 08.08.2021
27 | RQ61863 | 220 KV BASSI(PG)-DAUSA(RS) (PG) CKT-1 | 11-08-2021 09:00 - 11-08-2021 14:00 |  | Quarterly maintenance work | 08.08.2021
28 | RQ61832 | 400 KV ANTA-CHHABRA SCTPS (RS) CKT-1 | 11-08-2021 09:30 - 11-08-2021 18:00 |  | 2 HALF YEARLY MAINTENANCE | 08.08.2021
29 | RQ61842 | 400 KV ANTA-KALISINDH (RS) CKT-2 | 12-08-2021 08:00 - 12-08-2021 18:00 | Discuss/Subject to generation at Kalisindrestricted restriction at 1000 MW | 2 HALF YEARLY MAINTENANCE | 09.08.2021
30 | RQ61853 | 400 KV BHILWARA-CHITTORGARH (RS) CKT-1 | 12-08-2021 08:00 - 12-08-2021 18:00 |  | FOR MAINTAINCE WORK | 09.08.2021
31 | RQ61698 | 400KV BUS 1 AT BIKANER(RS) | 12-08-2021 08:00 - 12-08-2021 18:00 |  | Routine Bay maintenance | 09.08.2021
32 | RQ61709 | 400/220 KV 315 MVA ICT 2 AT RATANGARH(RS) | 12-08-2021 08:00 - 12-08-2021 18:00 |  | Maintenance work. | 09.08.2021
33 | RQ61914 | 400 KV SURATGARH(RVUN)-RATANGARH(RS) (RS) CKT-1 | 12-08-2021 08:00 - 12-08-2021 18:00 |  | To attend the Leakage of SF6 Gas in R-Ph Pole of 452 B Main CB of 400 kV RTGH-STPS- Ckt-I by Service Engineer | 09.08.2021
34 | RQ61864 | 220 KV BASSI(PG)-DAUSA(RS) (PG) CKT-2 | 12-08-2021 09:00 - 12-08-2021 14:00 |  | Quarterly maintenance work | 09.08.2021
35 | RQ61865 | 220 KV BASSI(PG)-INDIRA NAGAR(RS) (PG) CKT-1 | 13-08-2021 08:00 - 13-08-2021 18:00 |  | Quartererly maintenance of Bay Equipment | 10.08.2021
36 | RQ61416 | 70652B MAIN BAY - 765KV ANTA-PHAGI (RS) CKT-1 AT PHAGI(RS) | 13-08-2021 08:00 - 13-08-2021 18:00 |  | 1. Maintenance of CB & CTs 2. Tightening of clamps & connectors of Isolators, CB & CTs. | 10.08.2021
37 | RQ61854 | 400 KV BHILWARA-CHITTORGARH (RS) CKT-2 | 13-08-2021 08:00 - 13-08-2021 18:00 |  | FOR MAINTAINCE WORK | 10.08.2021
38 | RQ63242 | 400KV BUS 1 AT BIKANER(RS) | 13-08-2021 08:00 - 13-08-2021 18:00 |  | Routine Bay maintenance | 10.08.2021
39 | RQ61714 | 400/11 KV 80 MVA ST 1 AT KAWAI SCTPS(APR) | 13-08-2021 09:30 - 13-08-2021 19:30 |  | Annual maintenance and testing of Station transformer #1 and bay equipment's. | 10.08.2021
40 | RQ61866 | 400 KV AKAL-RAMGARH (RS) CKT-1 | 17-08-2021 08:00 - 17-08-2021 18:00 |  | Quarterly Maintenance | 14.08.2021
41 | RQ61721 | 407 MAIN BAY - 400 KV BASSI(PG)-PHAGI(RS) (PG) CKT-1 AT PHAGI(RS) | 17-08-2021 08:00 - 17-08-2021 18:00 |  | 1.To check operation timing of CB 2. Measurement of contact resistance of CB 3. Measurement of Tan-delta of CTs | 14.08.2021
42 | RQ61715 | 400/11 KV 80 MVA ST 2 AT KAWAI SCTPS(APR) | 17-08-2021 09:30 - 17-08-2021 19:30 |  | Annual maintenance and testing of Station transformer #2 and bay equipment's. | 14.08.2021
43 | RQ61867 | 400 KV AKAL-RAMGARH (RS) CKT-2 | 18-08-2021 08:00 - 18-08-2021 18:00 |  | Quarterly Maintenance | 15.08.2021
44 | RQ61833 | 400 KV BHADLA-RAMGARH (RS) CKT-2 | 18-08-2021 18:00 - 18-08-2021 23:00 |  | Quarterly maintenance work | 15.08.2021
45 | RQ61851 | 400 KV AKAL-JAISALMER (RS) CKT-1 | 19-08-2021 08:00 - 19-08-2021 16:00 |  | Quarterly Maintenance | 16.08.2021
46 | RQ61836 | 400 KV BHADLA-MERTA (RS) CKT-1 | 20-08-2021 18:00 - 20-08-2021 23:00 |  | Quarterly Maintenance work of Bay equipments of line & its Reactor at 400KV GSS Bhadla | 17.08.2021
47 | RQ61830 | 400 KV BHADLA(RS)-BHADLA(PG) (PG) CKT-1 | 23-08-2021 18:00 - 23-08-2021 23:00 |  | Quarterly Maintenance work at 400KV GSS Bhadla | 20.08.2021
48 | RQ61838 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-1 | 24-08-2021 08:00 - 24-08-2021 18:00 |  | For maintenance Work | 21.08.2021
49 | RQ61720 | 410 MAIN BAY - 400 KV BASSI(PG)-PHAGI(RS) (PG) CKT-2 AT PHAGI(RS) | 24-08-2021 08:00 - 24-08-2021 18:00 |  | 1.To check operation timing of CB 2. Measurement of contact resistance of CB 3. Measurement of Tan-delta of CTs | 21.08.2021
50 | RQ61841 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-2 | 24-08-2021 08:00 - 24-08-2021 18:00 |  | 2 HALF YEARLY MAINTENANCE at Anta | 21.08.2021
51 | RQ61725 | 408 TIE BAY - 400KV AKAL-RAMGARH (RS) CKT-1 AND 400/220KV 315 MVA ICT 1 AT AKAL(RS) | 24-08-2021 08:00 - 27-08-2021 18:00 |  | HALF YEARLY MAINTENANCE & TESTING WORK OF BAY & EQUIPMENTS | 21.08.2021
52 | RQ61697 | 400KV BUS 2 AT BABAI(RS) | 25-08-2021 07:00 - 25-08-2021 13:00 |  | Quarterly Maintenance | 22.08.2021
53 | RQ61703 | 80 MVAR BUS REACTOR NO 1 AT 400 KV BABAI(RS) | 25-08-2021 07:00 - 25-08-2021 13:00 |  | Quarterly Maintenance | 22.08.2021
54 | RQ61699 | 400KV BUS 1 AT CHITTORGARH(RS) | 25-08-2021 08:00 - 27-08-2021 18:00 |  | FOR MAINTAINCE WORK and | 22.08.2021
55 | RQ61718 | 411-52T TIE BAY - 765/400 KV 1500 MVA ICT 3 AT ANTA(RS) AND FUTURE AT 400 KV ANTA(RS) | 25-08-2021 09:30 - 25-08-2021 18:00 |  | 2 HALF YEARLY MAINTENANCE | 22.08.2021
56 | RQ61717 | 411-52 D MAIN BAY - 400KV BUS 2 AT ANTA(RS) AND FUTURE AT 400 KV ANTA(RS) | 25-08-2021 09:30 - 25-08-2021 18:00 |  | 2 HALF YEARLY MAINTENANCE | 22.08.2021
57 | RQ61831 | 400 KV BHADLA(RS)-BHADLA(PG) (PG) CKT-2 | 25-08-2021 18:00 - 25-08-2021 23:00 |  | Quarterly Maintenance work at 400KV GSS Bhadla | 22.08.2021
58 | RQ61696 | 400KV BUS 1 AT BABAI(RS) | 26-08-2021 07:00 - 26-08-2021 13:00 |  | Quarterly Maintenance | 23.08.2021
59 | RQ61839 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-2 | 26-08-2021 08:00 - 26-08-2021 18:00 |  | For maintenance Work | 23.08.2021
60 | RQ61415 | 70752A MAIN BAY - 765KV PHAGI(RS)-GWALIOR(PG) (UNDEF) CKT-2 AT PHAGI(RS) | 26-08-2021 08:00 - 26-08-2021 18:00 |  | 1. Maintenance of CB & CTs 2. Tightening of clamps & connectors of Isolators, CB & CTs. | 23.08.2021
61 | RQ61835 | 400 KV ANTA-CHHABRA (RS) CKT-1 | 26-08-2021 08:00 - 26-08-2021 18:00 |  | 2 HALF YEARLY MAINTENANCE | 23.08.2021
62 | RQ61860 | 220 KV LALSOTE(RS)-DAUSA(RS) (PG) CKT-1 | 26-08-2021 09:30 - 26-08-2021 15:30 |  | Quarterly Maintenance | 23.08.2021
63 | RQ61862 | 220 KV ANTA(NT)-LALSOTE(RS) (PG) CKT-1 | 26-08-2021 09:30 - 26-08-2021 15:30 |  | Quarterly Maintenance | 23.08.2021
64 | RQ61716 | 80 MVAR LR ON 400 KV BABAI(RS)-SURATGARH SCTPS(RVUN) (RS) CKT-1 @BABAI(RS) | 27-08-2021 07:00 - 27-08-2021 13:00 |  | Quarterly Maintenance of Bay equipment (Line is not commissioned yet) | 24.08.2021
65 | RQ61855 | 220 KV RAPS_B(NP)-SAKATPURA(RS) (RS) CKT-1 | 27-08-2021 08:00 - 27-08-2021 18:00 |  | Quartly maintenance work | 24.08.2021
66 | RQ61843 | 400 KV BARMER(RS)-RAJWEST(RW) (RS) CKT-1 | 27-08-2021 08:00 - 27-08-2021 18:00 |  | MAINTENANCE Work | 24.08.2021
67 | RQ61834 | 400 KV ANTA(RS)-KOTA(PG) (RS) CKT-1 | 27-08-2021 09:30 - 27-08-2021 18:00 |  | 2 HALF YEARLY MAINTENANCE | 24.08.2021
68 | RQ61710 | 400/220 KV 500 MVA ICT 1 AT BHADLA(RS) | 27-08-2021 18:00 - 27-08-2021 23:00 |  | Quarterly Maintenance work at 400KV GSS Bhadla | 24.08.2021
69 | RQ61417 | 70652T TIE BAY - 765KV PHAGI(RS)-GWALIOR(PG) (UNDEF) CKT-1 AND 765KV ANTA-PHAGI (RS) CKT-1 AT PHAGI(RS) | 28-08-2021 08:00 - 28-08-2021 18:00 |  | 1. Measurements of operation timings of CB. 2. Measurement of Tan-delta of Current Transformers . 3. Tightness of clamps & conenctors | 25.08.2021
70 | RQ61868 | 220 KV RAPS_A(NP)-SAKATPURA(RS) (RS) CKT-2 | 28-08-2021 08:00 - 28-08-2021 18:00 |  | Quartly maintenance work | 25.08.2021
71 | RQ61700 | 125 MVAR BUS REACTOR NO 1 AT 400KV BARMER(RS) | 28-08-2021 08:00 - 28-08-2021 18:00 |  | Routine Bay maintenance | 25.08.2021
72 | RQ61708 | 400/220 KV 500 MVA ICT 2 AT BHADLA(RS) | 29-08-2021 18:00 - 29-08-2021 23:00 |  | Quarterly Maintenance work at 400KV GSS Bhadla | 26.08.2021
73 | RQ61713 | 400/220 KV 500 MVA ICT 3 AT BHADLA(RS) | 31-08-2021 18:00 - 31-08-2021 23:00 |  | Quarterly Maintenance work at 400KV GSS Bhadla | 28.08.2021