## Approved SD
Shutdown No | Element Name | RPC Status | RPC ShutDown Range | RPC Remarks | Reason | D-3 Request
RQ63998 | 400/220 KV 315 MVA ICT 2 AT BIKANER(RS) | Approved | 01-09-2021 08:00 - 01-09-2021 18:00 |  | Routine Bay maintenance | 29.08.2021
RQ63881 | 220 KV ANTA(NT)-SAWAIMADHOPUR(RS) (PG) CKT-1 | Approved | 02-09-2021 08:00 - 02-09-2021 18:00 |  | For Quarterly Maintenance at 220kV GSS SWM | 30.08.2021
RQ63956 | 423 MAIN BAY - 400KV BIKANER(RS)-SIKAR(PG) (RS) CKT-1 AT BIKANER(RS) | Approved | 02-09-2021 08:00 - 02-09-2021 18:00 |  | Routine Bay maintenance | 30.08.2021
RQ63858 | 765KV BUS 2 AT PHAGI(RS) | Approved | 02-09-2021 08:00 - 02-09-2021 18:00 |  | For Erection of IPS Tube & Jumpering | 30.08.2021
RQ63948 | 400KV BUS 1KANKANI(RS) | Approved | 02-09-2021 08:00 - 02-09-2021 18:00 |  | Preventive maintenance work of bay | 30.08.2021
RQ63856 | 132 KV SHEOPUR(MP)-KHANDAR(RS) (MPSEB) CKT-1 | Approved | 02-09-2021 08:30 - 02-09-2021 12:00 |  | Quarterly Maintenance at Khandar end | 30.08.2021
RQ63880 | 220 KV SAWAIMADHOPUR(RS)-DAUSA(RS) (PG) CKT-1 | Approved | 03-09-2021 08:00 - 03-09-2021 18:00 |  | For Quarterly Maintenance at 220kV GSS SWM | 31.08.2021
RQ64018 | 400 KV SIKAR(PG)-RATANGARH(RS) (PG) CKT-1 | Approved | 03-09-2021 08:00 - 03-09-2021 18:00 |  | Testing of saturation of R-Ph Main CT of 400 kV RTGH-Sikar(Pg) Line will be carried out by Protection Team and Maintenance work of bay equipments , isolators and testing work of bay equipments. | 31.08.2021
RQ63875 | 400KV BUS 1 AT PHAGI(RS) | Approved | 03-09-2021 08:00 - 03-09-2021 18:00 |  | For Erection of IPS Tube & Jumpering | 31.08.2021
RQ66013 | 400KV BUS 1KANKANI(RS) | Approved | 03-09-2021 08:00 - 03-09-2021 18:00 |  | Preventive maintenance work of bay | 31.08.2021
RQ63935 | 80 MVAR BUS REACTOR NO 1 AT 400 KV KANKANI(RS) | Approved | 04-09-2021 08:00 - 04-09-2021 18:00 |  | Preventive maintenance work of bay &line | 01.09.2021
RQ63876 | 400KV BUS 2 AT PHAGI(RS) | Approved | 04-09-2021 08:00 - 04-09-2021 18:00 |  | For Erection of IPS Tube & Jumpering | 01.09.2021
RQ64038 | 400 KV AKAL-RAMGARH (RS) CKT-1 | Approved | 04-09-2021 08:00 - 04-09-2021 18:00 |  | Quarterly Maintenance | 01.09.2021
RQ63937 | 400KV BUS 1 AT MERTA(RS) | Approved | 05-09-2021 08:00 - 05-09-2021 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 02.09.2021
RQ64019 | 400 KV HEERAPURA-HINDAUN (RS) CKT-1 | Approved | 06-09-2021 08:00 - 06-09-2021 18:00 |  | 3rd Quaterly maintenance/Testing work of 400 KV side bay Equipments | 03.09.2021
RQ63857 | 765KV BUS 1 AT PHAGI(RS) | Approved | 06-09-2021 08:00 - 06-09-2021 18:00 |  | For Erection of IPS Tube & Jumpering | 03.09.2021
RQ64039 | 400 KV AKAL-RAMGARH (RS) CKT-2 | Approved | 06-09-2021 08:00 - 06-09-2021 18:00 |  | Quarterly Maintenance | 03.09.2021
RQ63936 | 125 MVAR BUS REACTOR NO 1 AT 400 KV AKAL(RS) | Approved | 06-09-2021 08:00 - 06-09-2021 18:00 |  | Yearly testing of reactor | 03.09.2021
RQ64026 | 400 KV AJMER-BHILWARA (RS) CKT-2 | Approved | 06-09-2021 08:00 - 06-09-2021 18:00 |  | For changing the defective P442 Relay by MPT&S wing | 03.09.2021
RQ63938 | 400KV BUS 2 AT MERTA(RS) | Approved | 06-09-2021 08:00 - 06-09-2021 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 03.09.2021
RQ63949 | 400KV BUS 2KANKANI(RS) | Approved | 06-09-2021 08:00 - 06-09-2021 18:00 |  | Preventive maintenance work of bay | 03.09.2021
RQ64003 | 400/220 KV 500 MVA ICT 3 AT JAISALMER(RS) | Approved | 06-09-2021 11:00 - 06-09-2021 16:00 |  | Preventive Maintenance | 03.09.2021
RQ64010 | 400 KV BIKANER(PG)-BIKANER(RS) (PG) CKT-1 | Approved | 06-09-2021 18:00 - 06-09-2021 23:00 |  | To repair strands of conductor of 400 kV BKN-Bhadla line as 400 kV Bikaner-Bikaner(765PG) and 400 kV BKN-Bhadla line are double cicuit Lines | 03.09.2021
RQ64031 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 06-09-2021 18:00 - 06-09-2021 23:00 |  | To repair strands of conductor of line which can be attended during daytime. (Enclosed shutdown request letter by Ms Ramalex) | 03.09.2021
RQ63957 | 420 MAIN BAY - 400KV BIKANER(RS)-SIKAR(PG) (RS) CKT-2 AT BIKANER(RS) | Approved | 07-09-2021 08:00 - 07-09-2021 18:00 |  | Routine Bay maintenance | 04.09.2021
RQ63932 | 50 MVAR BUS REACTOR NO 1 AT 400KV AKAL(RS) | Approved | 07-09-2021 08:00 - 07-09-2021 18:00 |  | Yearly testing of reactor | 04.09.2021
RQ64020 | 400 KV MERTA-HEERAPURA (RS) CKT-1 | Approved | 07-09-2021 08:00 - 07-09-2021 18:00 |  | 3rd Quaterly maintenance/Testing work of 400 KV side bay Equipments | 04.09.2021
RQ63863 | 70252A MAIN BAY - 765 KV PHAGI(RS)-BHIWANI(PG) (PG) CKT-1 AT PHAGI(RS) | Approved | 07-09-2021 08:00 - 07-09-2021 18:00 |  | 1. To check the operation timings of CB & measurement of contact resistance. 2. Measurement of Tan-delta of CTs. 3. Tightening of clamps & connectors. | 04.09.2021
RQ64015 | 400 KV BHILWARA-CHITTORGARH (RS) CKT-2 | Approved | 07-09-2021 08:00 - 07-09-2021 18:00 |  | Routine Maintenane of 400 KV CHITTOR-BHILWARA CKT-2 BAY(4152B)& ASSOCIATED EQUIPMENTS | 04.09.2021
RQ66012 | 400KV BUS 2KANKANI(RS) | Approved | 07-09-2021 08:00 - 07-09-2021 18:00 |  | Preventive maintenance work of bay | 04.09.2021
RQ64028 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-2 | Approved | 07-09-2021 09:30 - 07-09-2021 19:30 |  | Annual maintenance and testing of bay equipment's. | 04.09.2021
RQ63950 | 400 KV JAISALMER(RS) - BUS 1 | Approved | 07-09-2021 11:00 - 07-09-2021 16:00 |  | Preventive maintenance work of bay | 04.09.2021
RQ64025 | 400 KV AJMER-BHILWARA (RS) CKT-1 | Approved | 08-09-2021 08:00 - 08-09-2021 18:00 |  | Routine Maintenane of 400 KV AJMER-BHILWARA CKT-1 BAY(4352B) ASSOCIATED EQUIPMENTS | 05.09.2021
RQ63952 | 421 TIE BAY - 400KV BIKANER(RS)-SIKAR(PG) (RS) CKT-2 AND FUTURE AT BIKANER(RS) | Approved | 08-09-2021 08:00 - 08-09-2021 18:00 |  | Routine Bay maintenance | 05.09.2021
RQ63943 | 400KV BUS 2 AT BHILWARA(RS) | Approved | 08-09-2021 08:00 - 08-09-2021 18:00 |  | Routine Maintenance of 400KV Main Bus-2 and Associated Equipments | 05.09.2021
RQ64043 | 400 KV JODHPUR-KANKANI (RS) CKT-2 | Approved | 08-09-2021 08:00 - 08-09-2021 18:00 |  | Preventive maintenance work of bay &line | 05.09.2021
RQ64034 | 400 KV BHADLA-RAMGARH (RS) CKT-1 | Approved | 08-09-2021 08:00 - 08-09-2021 18:00 |  | Quarterly Maintenance alaongwith (50 MVAR Line Reactor) at Ramgarh | 05.09.2021
RQ64033 | 400 KV RAJWEST(RW)-KANKANI (RS) CKT-1 | Approved | 08-09-2021 08:00 - 08-09-2021 18:00 |  | Preventive maintenance work of bay &line | 05.09.2021
RQ64029 | 400 KV BASSI(PG)-HEERAPURA(RS) (PG) CKT-1 | Approved | 08-09-2021 08:00 - 08-09-2021 18:00 |  | 3rd Quaterly maintenance/Testing work | 05.09.2021
RQ63951 | 400 KV JAISALMER(RS) - BUS 2 | Approved | 08-09-2021 11:00 - 08-09-2021 16:00 |  | Preventive maintenance work of bay | 05.09.2021
RQ64001 | 400/220 KV 250 MVA ICT 1 AT HEERAPURA(RS) | Approved | 09-09-2021 08:00 - 09-09-2021 18:00 |  | 3rd Quaterly maintenance/Testing work | 06.09.2021
RQ64005 | 400/220 KV 500 MVA ICT 2 AT KANKANI(RS) | Approved | 09-09-2021 08:00 - 09-09-2021 18:00 |  | Preventive maintenance work of bay | 06.09.2021
RQ63862 | 70252T TIE BAY - 765KV PHAGI(RS)-BHIWANI(PG) (PG) CKT-1 AND 765/400KV 1500 MVA ICT 2 AT PHAGI(RS) | Approved | 09-09-2021 08:00 - 09-09-2021 18:00 |  | 1. To check the operation timings of CB & measurement of contact resistance. 2. Measurement of Tan-delta of CTs. 3. Tightening of clamps & connectors. | 06.09.2021
RQ63995 | 400/220 KV 315 MVA ICT 1 AT BARMER(RS) | Approved | 09-09-2021 08:00 - 09-09-2021 18:00 |  | Quarterly Maintenance | 06.09.2021
RQ64032 | 400 KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 | Approved | 09-09-2021 09:30 - 09-09-2021 19:30 |  | Annual maintenance and testing of bay equipment's. | 06.09.2021
RQ63999 | 400/220 KV 315 MVA ICT 2 AT BARMER(RS) | Approved | 10-09-2021 08:00 - 10-09-2021 18:00 |  | Quarterly Maintenance | 07.09.2021
RQ64059 | 400 KV HINDAUN(RS)-CHHABRA(RVUN) (RS) CKT-1 | Approved | 10-09-2021 08:00 - 10-09-2021 18:00 |  | Maintenance/Testing work of | 07.09.2021
RQ63873 | 400KV BUS 1 AT ANTA(RS) | Approved | 10-09-2021 08:00 - 10-09-2021 18:00 |  | 2st HALF YEARLY MAINTENANCE | 07.09.2021
RQ64035 | 400 KV BHADLA-RAMGARH (RS) CKT-2 | Approved | 10-09-2021 08:00 - 10-09-2021 18:00 |  | Quarterly Maintenance alaongwith (50 MVAR Line Reactor) at Ramgarh | 07.09.2021
RQ63993 | 400/220 KV 250 MVA ICT 2 AT HEERAPURA(RS) | Approved | 10-09-2021 08:00 - 10-09-2021 18:00 |  | 3rd Quaterly maintenance/Testing work | 07.09.2021
RQ66058 | 400/220 KV 500 MVA ICT 2 AT KANKANI(RS) | Approved | 10-09-2021 08:00 - 10-09-2021 18:00 |  | Preventive maintenance work of bay | 07.09.2021
RQ64027 | 400 KV AKAL-BARMER (RS) CKT-1 | Approved | 11-09-2021 08:00 - 11-09-2021 18:00 |  | Quarterly Maintenance at both end | 08.09.2021
RQ63988 | 400/220 KV 500 MVA ICT 2 AT RAMGARH(RS) | Approved | 12-09-2021 08:00 - 12-09-2021 18:00 |  | Quarterly Maintenance | 09.09.2021
RQ63990 | 400/220 KV 250 MVA ICT 3 AT HEERAPURA(RS) | Approved | 13-09-2021 08:00 - 13-09-2021 18:00 |  | 3rd Quaterly maintenance/Testing work | 10.09.2021
RQ64042 | 400 KV JODHPUR-KANKANI (RS) CKT-1 | Approved | 13-09-2021 08:00 - 13-09-2021 18:00 |  | Preventive maintenance work of bay &line | 10.09.2021
RQ64036 | 400 KV MERTA-KANKANI (RS) CKT-1 | Approved | 13-09-2021 08:00 - 13-09-2021 18:00 |  | Preventive maintenance work of bay &line | 10.09.2021
RQ64002 | 400/220 KV 315 MVA ICT 4 AT HEERAPURA(RS) | Approved | 14-09-2021 08:00 - 14-09-2021 18:00 |  | 3rd Quaterly maintenance/Testing work | 11.09.2021
RQ64006 | 400/220 KV 500 MVA ICT 1 AT AKAL(RS) | Approved | 14-09-2021 08:00 - 14-09-2021 18:00 |  | Yearly maintenance | 11.09.2021
RQ63994 | 400/220 KV 500 MVA ICT 1 AT RAMGARH(RS) | Approved | 14-09-2021 08:00 - 14-09-2021 18:00 |  | Quarterly Maintenance | 11.09.2021
RQ63870 | 419 MAIN BAY - 765/400KV 1500 MVA ICT 2 AT PHAGI(RS) | Approved | 14-09-2021 08:00 - 14-09-2021 18:00 |  | 1-Measurement of Tan-Delta of CTs. 2- Measurement of operation timings of CB. 3- Measurement of contact resistance of CB | 11.09.2021
RQ63944 | 400KV BUS 2 AT BIKANER(RS) | Approved | 14-09-2021 08:00 - 14-09-2021 18:00 |  | Routine Bay maintenance | 11.09.2021
RQ65862 | 400 KV JODHPUR-KANKANI (RS) CKT-1 | Approved | 14-09-2021 08:00 - 14-09-2021 18:00 |  | Preventive maintenance work of bay &line | 11.09.2021
RQ65863 | 400 KV MERTA-KANKANI (RS) CKT-1 | Approved | 14-09-2021 08:00 - 14-09-2021 18:00 |  | Preventive maintenance work of bay &line | 11.09.2021
RQ63930 | 63 MVAR BUS REACTOR NO 1 AT 400 KV KAWAI SCTPS(APR) | Approved | 14-09-2021 09:30 - 15-09-2021 19:00 |  | Annual maintenance and testing of Bus reactor 1 & bay equipment's (CT, Breaker & Isolators) | 11.09.2021
RQ63991 | 400/220 KV 315 MVA ICT 2 AT RATANGARH(RS) | Approved | 15-09-2021 08:00 - 15-09-2021 18:00 |  | Maintenance work of bay equipments, isolators and testing work of bay equipments. | 12.09.2021
RQ64007 | 400/220 KV 500 MVA ICT 2 AT AKAL(RS) | Approved | 15-09-2021 08:00 - 15-09-2021 18:00 |  | Yearly maintenance | 12.09.2021
RQ64057 | 400 KV PHAGI-HEERAPURA (RS) CKT-1 | Approved | 15-09-2021 08:00 - 15-09-2021 18:00 |  | 3rd Quaterly maintenance/Testing work of | 12.09.2021
RQ63946 | 400KV BUS 1 AT RAMGARH(RS) | Approved | 16-09-2021 08:00 - 16-09-2021 18:00 |  | Quarterly Maintenance | 13.09.2021
RQ64011 | 400 KV BHINMAL(PG)-BARMER(RS) (RS) CKT-1 | Approved | 16-09-2021 08:00 - 16-09-2021 18:00 |  | Quarterly Maintenance | 13.09.2021
RQ63934 | 50 MVAR BUS REACTOR NO 1 AT 400KV RATANGARH(RS) | Approved | 17-09-2021 08:00 - 17-09-2021 18:00 |  | Maintenance work of bay equipments, isolators and testing work of bay equipments. | 14.09.2021
RQ63869 | 415 MAIN BAY - 400KV PHAGI-HEERAPURA (RS) CKT-2 AT PHAGI(RS) | Approved | 17-09-2021 08:00 - 17-09-2021 18:00 |  | 1. Maintenance of CB & CTs 2.Tightening of clamps &connectors. 3. measurement of operating time of CB . | 14.09.2021
RQ63996 | 400/220 KV 315 MVA ICT 1 AT BIKANER(RS) | Approved | 17-09-2021 08:00 - 17-09-2021 18:00 |  | Routine Bay maintenance | 14.09.2021
RQ64021 | 220 KV ANTA(NT)-BHILWARA(RS) (PG) CKT-1 | Approved | 17-09-2021 08:00 - 17-09-2021 18:00 |  | Maintenance Work | 14.09.2021
RQ63997 | 400/220 KV 500 MVA ICT 4 AT AKAL(RS) | Approved | 17-09-2021 08:00 - 17-09-2021 18:00 |  | Yearly maintenance | 14.09.2021
RQ64058 | 400 KV PHAGI-HEERAPURA (RS) CKT-2 | Approved | 17-09-2021 08:00 - 17-09-2021 18:00 |  | 3rd Quaterly maintenance/Testing work of | 14.09.2021
RQ64012 | 400 KV BHINMAL(PG)-BARMER(RS) (RS) CKT-2 | Approved | 17-09-2021 08:00 - 17-09-2021 18:00 |  | Quarterly Maintenance | 14.09.2021
RQ63931 | 63 MVAR BUS REACTOR NO 2 AT 400 KV KAWAI SCTPS(APR) | Approved | 17-09-2021 09:30 - 18-09-2021 19:00 |  | Annual maintenance and testing of Bus reactor 2 & bay equipment's (CT, Breaker & Isolators) | 14.09.2021
RQ63947 | 400KV BUS 2 AT RAMGARH(RS) | Approved | 18-09-2021 08:00 - 18-09-2021 18:00 |  | Quarterly Maintenance | 15.09.2021
RQ64013 | 400 KV JAISALMER-BARMER (RS) CKT-1 | Approved | 18-09-2021 08:00 - 18-09-2021 18:00 |  | Quarterly Maintenance | 15.09.2021
RQ64041 | 400 KV CHITTORGARH(RS)-CHITTORGARH(PG) (PG) CKT-2 | Approved | 18-09-2021 08:00 - 18-09-2021 18:00 |  | FOR MAINTAINCE WORK of bay at 400kV GSS Chittorgarh | 15.09.2021
RQ63992 | 400/220 KV 315 MVA ICT 3 AT AKAL(RS) | Approved | 18-09-2021 08:00 - 18-09-2021 18:00 |  | Yearly maintenance | 15.09.2021
RQ63888 | 220 KV BASSI(PG)-BAGRU(RS) (PG) CKT-1 | Approved | 19-09-2021 08:00 - 19-09-2021 18:00 |  | For Quarterly maintenance work of whole grid sub-station | 16.09.2021
RQ63866 | 40452T TIE BAY - 400KV BASSI(PG)-PHAGI(RS) (PG) CKT-2 AND FUTURE AT PHAGI(RS) | Approved | 20-09-2021 08:00 - 20-09-2021 18:00 |  | (1) To measure the operation timings of CB. (2) Measurement of Tan-delta of CTS . (3) Tighetening of clamps & connectors. | 17.09.2021
RQ63933 | 125 MVAR BUS REACTOR NO 1 AT 400KV RAMGARH(RS) | Approved | 20-09-2021 08:00 - 20-09-2021 18:00 |  | Quarterly Maintenance | 17.09.2021
RQ64063 | 400/220 KV 315 MVA ICT 3 AT AJMER(RS) | Approved | 22-09-2021 08:00 - 22-09-2021 18:00 |  | Due to shutdown defective Tie Circuit Breaker ICT-III will remain OFF as shutdown of 400kV Main Bus -II is scheduled on 22.09.2021 | 19.09.2021
RQ64062 | 400KV BUS 2 AT AJMER(RS) | Approved | 22-09-2021 08:00 - 22-09-2021 18:00 |  | HALF YEARLY MAINTENANCE & TESTING WORK OF 400 KV MAIN BUS BAR-II | 19.09.2021
RQ63868 | 40752T TIE BAY - 765/400KV 1500 MVA ICT 1 AT PHAGI(RS) AND 400KV PHAGI-HEERAPURA (RS) CKT-2 | Approved | 22-09-2021 08:00 - 22-09-2021 18:00 |  | 1. To check the open / close time of CB. 2. Measurement of Tan-delta of CTs. 3. Maintenance of CB & CTs. 4. Tightening of clamps & connectors. | 19.09.2021
RQ64004 | 400/220 KV 500 MVA ICT 3 AT RAMGARH(RS) | Approved | 22-09-2021 08:00 - 22-09-2021 18:00 |  | Quarterly Maintenance | 19.09.2021
RQ63958 | 407 MAIN BAY - 400KV BIKANER(RS)-SSCTPSSURATGARH(RS) (UNDEF) CKT-1 AT BIKANER(RS) | Approved | 22-09-2021 08:00 - 22-09-2021 18:00 |  | Routine Bay maintenance | 19.09.2021
RQ64061 | 400 KV PHAGI-AJMER (RS) CKT-2 | Approved | 22-09-2021 08:00 - 22-09-2021 18:00 |  | HALF YEARLY MAINTENANCE & TESTING WORK OF BAY & LINE EQUIPMENTS | 19.09.2021
RQ63945 | 400KV BUS 2 AT CHITTORGARH(RS) | Approved | 22-09-2021 08:00 - 24-09-2021 18:00 |  | FOR MAINTAINCE WORK and | 19.09.2021
RQ64023 | 400 KV AJMER(RS)-AJMER(PG) (PG) CKT-1 | Approved | 23-09-2021 08:00 - 23-09-2021 18:00 | May be given; subject to no BUS and element outage | HALF YEARLY MAINTENANCE & TESTING WORK OF BAY & LINE EQUIPMENTS | 20.09.2021
RQ63859 | 765 KV ANTA-PHAGI (RS) CKT-1 | Approved | 23-09-2021 08:00 - 23-09-2021 18:00 |  | 2st HALF YEARLY MAINTENANCE of line alonwith 240MVAR line reactor at 765kV GSS Anta | 20.09.2021
RQ63884 | 220 KV AGRA(PG)-BHARATPUR(RS) (PG) CKT-1 | Approved | 23-09-2021 08:00 - 23-09-2021 18:00 |  | For line and bay maintenance work | 20.09.2021
RQ64014 | 400 KV JAISALMER-BARMER (RS) CKT-2 | Approved | 23-09-2021 08:00 - 23-09-2021 18:00 |  | Quarterly Maintenance | 20.09.2021
RQ63889 | 220 KV RAPS_A(NP)-SAKATPURA(RS) (RS) CKT-1 | Approved | 23-09-2021 08:00 - 23-09-2021 18:00 | RAPP consent | Quartly maintenance work | 20.09.2021
RQ63953 | 408 TIE BAY - 400KV BIKANER(RS)-SSCTPSSURATGARH(RS) (UNDEF) CKT-1 AND FUTURE AT BIKANER(RS) | Approved | 23-09-2021 08:00 - 23-09-2021 18:00 |  | Routine Bay maintenance | 20.09.2021
RQ63939 | 400KV BUS 1 AT AKAL(RS) | Approved | 23-09-2021 08:00 - 23-09-2021 18:00 |  | Yearly maintenance | 20.09.2021
RQ64024 | 400 KV AJMER(RS)-AJMER(PG) (PG) CKT-2 | Approved | 24-09-2021 08:00 - 24-09-2021 18:00 |  | HALF YEARLY MAINTENANCE & TESTING WORK OF BAY & LINE EQUIPMENTS | 21.09.2021
RQ64022 | 220 KV ANTA(NT)-BHILWARA(RS) (PG) CKT-2 | Approved | 24-09-2021 08:00 - 24-09-2021 18:00 |  | Maintenance Work | 21.09.2021
RQ63886 | 220 KV ANTA(NT)-SAKATPURA(RS) (RS) CKT-1 | Approved | 24-09-2021 08:00 - 24-09-2021 18:00 |  | Quartly maintenance work | 21.09.2021
RQ63885 | 220 KV AGRA(PG)-SIKANDRA(UP) (PG) CKT-1 | Approved | 24-09-2021 08:00 - 24-09-2021 18:00 |  | For line maintenance work | 21.09.2021
RQ63941 | 400KV BUS 1 AT BARMER(RS) | Approved | 24-09-2021 08:00 - 24-09-2021 18:00 |  | Quarterly Maintenance | 21.09.2021
RQ63874 | 400KV BUS 2 AT ANTA(RS) | Approved | 24-09-2021 08:00 - 24-09-2021 18:00 |  | 2st HALF YEARLY MAINTENANCE | 21.09.2021
RQ63861 | 70752B MAIN BAY - 765KV ANTA-PHAGI (RS) CKT-2 AT PHAGI(RS) | Approved | 24-09-2021 08:00 - 24-09-2021 18:00 |  | 1. Maintenance of CB & CTs 2. Tightening of clamps & connectors of Isolators, CB & CTs. | 21.09.2021
RQ63940 | 400KV BUS 2 AT AKAL(RS) | Approved | 24-09-2021 08:00 - 24-09-2021 18:00 |  | Yearly maintenance | 21.09.2021
RQ63942 | 400KV BUS 2 AT BARMER(RS) | Approved | 25-09-2021 08:00 - 25-09-2021 18:00 |  | Quarterly Maintenance | 22.09.2021
RQ63867 | 401052T TIE BAY - 765/400KV 1500 MVA ICT 2 AT PHAGI(RS) AND 400KV PHAGI-AJMER (RS) CKT-1 | Approved | 27-09-2021 08:00 - 27-09-2021 18:00 |  | (1) To measure the operation timings of CB. (2) Measurement of Tan-delta of CTS . (3) Tighetening of clamps & connectors. | 24.09.2021
RQ63959 | 404 MAIN BAY - 400KV BIKANER(RS)-SSCTPSSURATGARH(RS) (UNDEF) CKT-2 AT BIKANER(RS) | Approved | 28-09-2021 08:00 - 28-09-2021 18:00 |  | Routine Bay maintenance | 25.09.2021
RQ63887 | 220 KV BADARPUR(NT)-ALWAR MIA(RS) (RS) CKT-1 | Approved | 28-09-2021 08:00 - 30-09-2021 18:00 |  | For half yearly maintenance, line repairing & tree trimming work under line | 25.09.2021
RQ63954 | 405 TIE BAY - 400KV BIKANER(RS)-SSCTPSSURATGARH(RS) (UNDEF) CKT-2 AND 400KV BIKANER(RS)-DEEDWANA(MTS) (MTS) CKT-1 AT BIKANER(RS) | Approved | 29-09-2021 08:00 - 29-09-2021 18:00 |  | Routine Bay maintenance | 26.09.2021
RQ64000 | 400/220 KV 315 MVA ICT 2 AT CHITTORGARH(RS) | Approved | 29-09-2021 08:00 - 29-09-2021 18:00 |  | FOR MAINTAINCE WORK | 26.09.2021
RQ63865 | 401352T TIE BAY - 125 MVAR BUS REACTOR NO 1 AT 400KV PHAGI(RS) AND FUTURE | Approved | 29-09-2021 08:00 - 29-09-2021 18:00 |  | 1. To check the operation timings of CB& measurement of contact resistance.. 2. Measurement of Tan-delta of CTs. 3.Tightening of clamps & connectors. | 26.09.2021
RQ63989 | 400/220 KV 315 MVA ICT 1 AT CHITTORGARH(RS) | Approved | 30-09-2021 08:00 - 30-09-2021 18:00 |  | FOR MAINTAINCE WORK | 27.09.2021
RQ63955 | 401 MAIN BAY - 400KV BIKANER(RS)-DEEDWANA(MTS) (MTS) CKT-1 AT BIKANER(RS) | Approved | 30-09-2021 08:00 - 30-09-2021 18:00 |  | Routine Bay maintenance | 27.09.2021

## Rejected SD
Shutdown No | Element Name | Req Shutdown Range | RPC Status | RPC ShutDown Range | RPC Remarks | Reason
RQ64060 | 400 KV BASSI(PG)-HEERAPURA(RS) (PG) CKT-2 | 18-09-2021 08:00 - 18-09-2021 18:00 | Rejected | - | consent denied by powergrid | 3rd Quaterly maintenance/Testing work of
RQ64040 | 400 KV CHITTORGARH(RS)-CHITTORGARH(PG) (PG) CKT-1 | 17-09-2021 08:00 - 17-09-2021 18:00 | Rejected | - | consent denied by powergrid | FOR MAINTAINCE WORK of bay at 400kV GSS Chittorgarh