## Approved
S.No. | Shutdown No | Element Name | RPC Status | RPC ShutDown Range | Reason | D-3 Req date
1 | RQ77390 | 765KV BUS 1 AT PHAGI(RS) | Approved | 03-01-2022 08:00 - 03-01-2022 18:00 | For testing of equipments under man Bus-I | 31-12-2021
2 | RQ77736 | 400 KV BIKANER(PG)-BHADLA(RS) (PG) CKT-1 | Approved | 05-01-2022 06:00 - 11-01-2022 18:00 | Repairing work of conductor at 400 KV Bhadla-Bikaner(PGCIL) & bhadla Bikaner lines. | 02.01.2022
3 | RQ77754 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 05-01-2022 06:00 - 11-01-2022 18:00 | Repairing work of conductor at 400 KV Bhadla-Bikaner(PGCIL) & bhadla Bikaner lines. | 02.01.2022
4 | RQ77773 | 400/220 KV 250 MVA ICT 3 AT HEERAPURA(RS) | Approved | 05-01-2022 08:00 - 05-01-2022 18:00 | Quaterly maintenance work of 400 ,220 KV side bay Equipments and attend Oil leakage problem by M/s D.N.Corporation Bulandshahar | 02.01.2022
5 | RQ77391 | 765KV BUS 2 AT PHAGI(RS) | Approved | 05-01-2022 08:00 - 05-01-2022 18:00 | For testing of equipments under man Bus-II | 02.01.2022
6 | RQ77759 | 125 MVAR BUS REACTOR NO 1 AT 400KV RATANGARH(RS) | Approved | 06-01-2022 08:00 - 06-01-2022 18:00 | Maintenance work of bay equipments , isolators and testing work of bay equipments. | 03.01.2022
7 | RQ78058 | 400/220 KV 250 MVA ICT 2 AT HEERAPURA(RS) | Approved | 06-01-2022 08:00 - 06-01-2022 18:00 | Due to proposed Shut down of Two Nos Main Bus of 220 KV side (D & F) Circuit Breaker of 220 KV side of ILT-2 & ILT-3 to keep switch off to limit the supply source as per feeding capacity of single 220 KV Main Bus-E/CTs. No work is to be done on ILT-2 & ILT-3 but these will remain in circuit on No load. | 03.01.2022
8 | RQ80117 | 400/220 KV 250 MVA ICT 3 AT HEERAPURA(RS) | Approved | 06-01-2022 08:00 - 06-01-2022 18:00 | Quaterly maintenance work of 400 ,220 KV side bay Equipments and attend Oil leakage problem by M/s D.N.Corporation Bulandshahar | 03.01.2022
9 | RQ77421 | 400KV BUS 1 AT PHAGI(RS) | Approved | 07-01-2022 08:00 - 07-01-2022 18:00 | For testing of equipments under man Bus-I | 04.01.2022
10 | RQ77760 | 50 MVAR BUS REACTOR NO 1 AT 400KV RATANGARH(RS) | Approved | 08-01-2022 08:00 - 08-01-2022 18:00 | Maintenance work of bay equipments , isolators and testing work of bay equipments. | 05.01.2022
11 | RQ77769 | 4452T TIE BAY - 50 MVAR BUS REACTOR NO 1 AT 400KV BHILWARA(RS) (RRVPNL) AND 400 KV AJMER-BHILWARA (RS) CKT-2 AT 400 KV BHILWARA(RS) (RRVPNL) | Approved | 10-01-2022 08:00 - 10-01-2022 18:00 | Routine maintenance of 400 KV Tie-4 BAY(4452T)& ASSOCIATED EQUIPMENTS | 07.01.2022
12 | RQ77750 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-1 | Approved | 10-01-2022 08:00 - 10-01-2022 18:00 | For maintenance Work | 07.01.2022
13 | RQ77422 | 400KV BUS 2 AT PHAGI(RS) | Approved | 10-01-2022 08:00 - 10-01-2022 18:00 | For testing of equipments under man Bus-II | 07.01.2022
14 | RQ77766 | 400/220 KV 500 MVA ICT 3 AT JAISALMER(RS) | Approved | 10-01-2022 08:00 - 10-01-2022 18:00 | Quarterly Maintenance | 07.01.2022
15 | RQ77397 | 765/400 KV 1500 MVA ICT 3 AT ANTA(RS) | Approved | 10-01-2022 08:00 - 10-01-2022 18:00 | IInd HALF YEARLY MAINTENANCE | 07.01.2022
16 | RQ77752 | 400 KV AJMER-BHILWARA (RS) CKT-1 | Approved | 10-01-2022 08:00 - 10-01-2022 18:00 | Half Yearly maintenance work of associated equipments of 400 kV Ajmer-Bhilwara -I Line & Bay (401) & TIE bay 400 KV Ajmer-Bhilwara Ckt-I (402) | 07.01.2022
17 | RQ77764 | 400/220 KV 315 MVA ICT 1 AT RATANGARH(RS) | Approved | 11-01-2022 08:00 - 11-01-2022 18:00 | Maintenance work of bay equipments , isolators and testing work of bay equipments. | 08.01.2022
18 | RQ77753 | 400 KV AJMER-BHILWARA (RS) CKT-2 | Approved | 11-01-2022 08:00 - 11-01-2022 18:00 | Half Yearly maintenance work of associated equipments of 400 kV Ajmer-Bhilwara -II Line & Bay (404) & TIE bay 400 KV Ajmer-Bhilwara Ckt-II (405) | 08.01.2022
19 | RQ77765 | 400/220 KV 500 MVA ICT 1 AT JAISALMER(RS) | Approved | 11-01-2022 08:00 - 11-01-2022 18:00 | Quarterly Maintenance | 08.01.2022
20 | RQ77774 | 420 MAIN BAY - 400KV BIKANER(RS)-SIKAR(PG) (RS) CKT-2 AT BIKANER(RS) | Approved | 11-01-2022 08:00 - 11-01-2022 18:00 | Routine Maintenance | 08.01.2022
21 | RQ77751 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-2 | Approved | 11-01-2022 08:00 - 11-01-2022 18:00 | For overhauling of its CB at dadri end | 08.01.2022
22 | RQ77770 | 4152T TIE BAY - 400/220 KV 315 MVA ICT 1 AT BHILWARA(RS) AND 400 KV BHILWARA-CHITTORGARH (RS) CKT-2 AT 400 KV BHILWARA(RS) | Approved | 11-01-2022 08:00 - 11-01-2022 18:00 | Routine maintenance of 400 KV Tie-1 BAY(4152T)& ASSOCIATED EQUIPMENTS | 08.01.2022
23 | RQ77733 | 400 KV AKAL-JAISALMER (RS) CKT-1 | Approved | 12-01-2022 08:00 - 12-01-2022 18:00 | Quarterly Maintenance | 09.01.2022
24 | RQ77398 | 765/400 KV 1500 MVA ICT 2 AT ANTA(RS) | Approved | 12-01-2022 08:00 - 12-01-2022 18:00 | IInd HALF YEARLY MAINTENANCE | 09.01.2022
25 | RQ77417 | 400 KV BASSI(PG)-PHAGI(RS) (PG) CKT-1 | Approved | 12-01-2022 08:00 - 12-01-2022 18:00 | For maintenance & testing work of line equipment and replacement work of faulty surge counters in 400KV Phagi-Bassi Line-I | 09.01.2022
26 | RQ77771 | 405 TIE BAY - 400KV BHILWARA(RS)-CHITTORGARH(RS) (UNDEF) CKT-1 AND 400/220KV 315 MVA ICT 2 AT BHILWARA(RS) | Approved | 12-01-2022 08:00 - 12-01-2022 18:00 | Routine maintenance of 400 KV Tie-2 BAY(4252T)& ASSOCIATED EQUIPMENTS | 09.01.2022
27 | RQ77775 | 404 MAIN BAY - 400KV BIKANER(RS)-SSCTPSSURATGARH(RS) (UNDEF) CKT-2 AT BIKANER(RS) | Approved | 12-01-2022 08:00 - 12-01-2022 18:00 | Routine Maintenance | 09.01.2022
28 | RQ80131 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-2 | Approved | 12-01-2022 08:00 - 12-01-2022 18:00 | For overhauling of its CB at dadri end | 09.01.2022
29 | RQ77737 | 400 KV AJMER(RS)-DEEDWANA(MTS) (RS) CKT-1 | Approved | 12-01-2022 10:00 - 12-01-2022 15:00 | Half Yearly maintenance work of associated equipments of 400 kV Ajmer-Deedwana Line & Bay (406) | 09.01.2022
30 | RQ77761 | 125 MVAR BUS REACTOR NO 1 AT 400 KV JAISALMER(RS) | Approved | 13-01-2022 08:00 - 13-01-2022 18:00 | Quarterly Maintenance | 10.01.2022
31 | RQ77742 | 400 KV SURATGARH(RVUN)-RATANGARH(RS) (RS) CKT-1 | Approved | 13-01-2022 08:00 - 13-01-2022 18:00 | Maintenance work of bay equipments , isolators and testing work of bay equipments. | 10.01.2022
32 | RQ77415 | 400 KV ANTA-CHHABRA SCTPS (RS) CKT-1 | Approved | 13-01-2022 08:00 - 13-01-2022 18:00 | IInd HALF YEARLY MAINTENANCE | 10.01.2022
33 | RQ80132 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-2 | Approved | 13-01-2022 08:00 - 13-01-2022 18:00 | For overhauling of its CB at dadri end | 10.01.2022
34 | RQ77738 | 400 KV JAISALMER-BARMER (RS) CKT-1 | Approved | 14-01-2022 08:00 - 14-01-2022 16:00 | Quarterly Maintenance | 11.01.2022
35 | RQ80133 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-2 | Approved | 14-01-2022 08:00 - 14-01-2022 18:00 | For overhauling of its CB at dadri end | 11.01.2022
36 | RQ77741 | 400 KV SIKAR(PG)-RATANGARH(RS) (PG) CKT-1 | Approved | 15-01-2022 08:00 - 15-01-2022 18:00 | Maintenance work of bay equipments , isolators and testing work of bay equipments & communication panel. | 12.01.2022
37 | RQ77739 | 400 KV JAISALMER-BARMER (RS) CKT-2 | Approved | 17-01-2022 08:00 - 17-01-2022 16:00 | Quarterly Maintenance | 14.01.2022
38 | RQ77418 | 400 KV BASSI(PG)-PHAGI(RS) (PG) CKT-2 | Approved | 17-01-2022 08:00 - 17-01-2022 18:00 | For maintenance & testing work of line equipment and replacement work of faulty surge counters in 400KV Phagi-Bassi Line-II | 14.01.2022
39 | RQ77762 | 400/220 KV 315 MVA ICT 1 AT HINDAUN(RS) | Approved | 17-01-2022 08:00 - 17-01-2022 18:00 | Half yearly Maintenance & testing work | 14.01.2022
40 | RQ77416 | 400 KV ANTA-CHHABRA SCTPS (RS) CKT-2 | Approved | 17-01-2022 08:00 - 17-01-2022 18:00 | IInd HALF YEARLY MAINTENANCE | 14.01.2022
41 | RQ77743 | 400 KV SURATGARH(RVUN)-RATANGARH(RS) (RS) CKT-2 | Approved | 17-01-2022 08:00 - 22-01-2022 18:00 | Replacement of the defective disc insulators as per the PID test report at Tower Location no. 212, 229, 235 , 245 , 247 , 258 , 269 , 289, 297 , 299 and 406. | 14.01.2022
42 | RQ77734 | 400 KV KANKANI-JAISALMER (RS) CKT-2 | Approved | 18-01-2022 08:00 - 18-01-2022 18:00 | Quarterly Maintenance | 15.01.2022
43 | RQ77763 | 400/220 KV 315 MVA ICT 2 AT HINDAUN(RS) | Approved | 18-01-2022 08:00 - 18-01-2022 18:00 | Half yearly Maintenance & testing work | 15.01.2022
44 | RQ77768 | 400 KV JAISALMER(RS) - BUS 2 | Approved | 19-01-2022 08:00 - 19-01-2022 18:00 | Quarterly Maintenance | 16.01.2022
45 | RQ77412 | 765 KV PHAGI(RS)-BHIWANI(PG) (PG) CKT-2 | Approved | 19-01-2022 08:00 - 19-01-2022 18:00 | Shutdown of line alongwith 3*80 MVAR line reactor at Phagi For maintenance & testing work of line equipment and replacement work of faulty surge counters in 765KV Phagi-Bhiwani Line-II | 16.01.2022
46 | RQ77745 | 400 KV HINDAUN(RS)-CHHABRA(RVUN) (RS) CKT-1 | Approved | 19-01-2022 08:00 - 19-01-2022 18:00 | Half yearly Maintance & testing work | 16.01.2022
47 | RQ77388 | 765KV BUS 1 AT ANTA(RS) | Approved | 19-01-2022 08:00 - 19-01-2022 18:00 | IInd HALF YEARLY MAINTENANCE | 16.01.2022
48 | RQ77746 | 220 KV ANTA(NT)-BHILWARA(RS) (PG) CKT-1 | Approved | 19-01-2022 08:00 - 19-01-2022 18:00 | Routine Maintenance of Bay & Line | 16.01.2022
49 | RQ77767 | 400 KV JAISALMER(RS) - BUS 1 | Approved | 20-01-2022 08:00 - 20-01-2022 18:00 | Quarterly Maintenance | 17.01.2022
50 | RQ77747 | 220 KV ANTA(NT)-BHILWARA(RS) (PG) CKT-2 | Approved | 20-01-2022 08:00 - 20-01-2022 18:00 | Routine Maintenance of Bay & Line | 17.01.2022
51 | RQ77744 | 220 KV HISSAR(BB)-CHIRAWA(RS) (BB) CKT-1 | Approved | 20-01-2022 08:00 - 20-01-2022 18:00 | For routine Line maintenance & Tree Trimming under the Line requiring Shutdown | 17.01.2022
52 | RQ77748 | 220 KV BASSI(PG)-DAUSA(RS) (PG) CKT-1 | Approved | 20-01-2022 08:00 - 20-01-2022 18:00 | Quarterly maintenance work | 17.01.2022
53 | RQ77735 | 220 KV AGRA(PG)-BHARATPUR(RS) (PG) CKT-1 | Approved | 20-01-2022 08:00 - 20-01-2022 18:00 | maintenance of line and bay at 220KV GSS RVPN, Bharatpur | 17.01.2022
54 | RQ77740 | 220 KV AGRA(PG)-SIKANDRA(UP) (PG) CKT-1 | Approved | 21-01-2022 08:00 - 21-01-2022 18:00 | maintenance of line | 18.01.2022
55 | RQ77749 | 220 KV BASSI(PG)-DAUSA(RS) (PG) CKT-2 | Approved | 21-01-2022 08:00 - 21-01-2022 18:00 | Quarterly maintenance work | 18.01.2022
56 | RQ77410 | 765 KV PHAGI(RS)-GWALIOR(PG) (PG) CKT-2 | Approved | 21-01-2022 08:00 - 21-01-2022 18:00 | For maintenance & testing work of line equipment and replacement work of faulty surge counters in 765KV Phagi-Gwalior Line-II and 3X80MVAR Reactor Bank at Phagi | 18.01.2022
57 | RQ77411 | 765 KV PHAGI(RS)-BHIWANI(PG) (PG) CKT-1 | Approved | 24-01-2022 08:00 - 24-01-2022 18:00 | Shutdown of line alongwith 3*80 MVAR line reactor at Phagi 1. To check the operation timings of CB & measurement of contact resistance. 2. Measurement of Tan-delta of CTs & Reactor Bank. 3. Tightening of clamps & connectors. | 21.01.2022
58 | RQ77389 | 765KV BUS 2 AT ANTA(RS) | Approved | 27-01-2022 08:00 - 27-01-2022 18:00 | IInd HALF YEARLY MAINTENANCE | 24.01.2022

## Rejected
S.No. | Shutdown No | Element Name | RPC Status | RPC ShutDown Range | Reason | D-3 Req date
1 | RQ77400 | 240 MVAR BUS REACTOR NO 1 AT 765KV PHAGI(RS) | Rejected | - | 1. Measurment of Tan-delta of Bushings of Reactors. 2. Other maintenance work of reactors. & Main Bay CB (705-52A)