## Approved
S.No. | Shutdown No | Element Name | RPC Status | RPC ShutDown Range | RPC Remarks | Reason | D-3 Req. Date
1 | RQ81332 | 400 KV MERTA-RATANGARH (RS) CKT-1 | Approved | 01-02-2022 08:00 - 01-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 29.01.2022
2 | RQ81328 | 400 KV AKAL-KANKANI (RS) CKT-1 | Approved | 01-02-2022 08:00 - 01-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Line Equipments | 29.01.2022
3 | RQ80803 | 765KV BUS 1 AT PHAGI(RS) | Approved | 01-02-2022 08:00 - 01-02-2022 18:00 | Bypass arrangement to be done at Anta. Generation at Chabra Kawai Complex to be restrcted to 3500 MW. | For Testing Bus Bar Stability (For commissioning work of New ICT-III of 765/400kV, 3*500 MVA ) | 29.01.2022
4 | RQ82236 | 400 KV AKAL-KANKANI (RS) CKT-1 | Approved | 02-02-2022 08:00 - 02-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Line Equipments | 30.01.2022
82 | RQ81215 | 400/220 KV 500 MVA ICT 1 AT AKAL(RS) | Approved | 02-02-2022 08:00 - 02-02-2022 18:00 |  | Quarterly Maintenance | 30.01.2022
5 | RQ80804 | 765KV BUS 2 AT PHAGI(RS) | Approved | 03-02-2022 08:00 - 03-02-2022 18:00 | Bypass arrangement to be done at Anta. Generation at Chabra Kawai Complex to be restrcted to 3500 MW. | For Testing Bus Bar Stability (For commissioning work of New ICT-III of 765/400kV, 3*500 MVA ) | 31.01.2022
6 | RQ80806 | 765/400 KV 1500 MVA ICT 1 AT ANTA(RS) | Approved | 03-02-2022 08:00 - 03-02-2022 18:00 |  | IInd HALF YEARLY MAINTENANCE | 31.01.2022
7 | RQ81253 | 125 MVAR BUS REACTOR NO 1 AT 400KV MERTA(RS) | Approved | 03-02-2022 08:00 - 03-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 31.01.2022
83 | RQ81208 | 400/220 KV 315 MVA ICT 1 AT BIKANER(RS) | Approved | 03-02-2022 08:00 - 03-02-2022 18:00 |  | Routine Maintenance | 31.01.2022
84 | RQ81322 | 220 KV RAPS_A(NP)-SAKATPURA(RS) (RS) CKT-1 | Approved | 03-02-2022 08:00 - 04-02-2022 18:00 |  | Quartly maintenance work and Testing of Equipment | 31.01.2022
8 | RQ81331 | 400 KV MERTA-HEERAPURA (RS) CKT-1 | Approved | 04-02-2022 08:00 - 04-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 01.02.2022
9 | RQ80798 | 400 KV ANTA-KALISINDH (RS) CKT-2 | Approved | 04-02-2022 08:00 - 04-02-2022 18:00 | Generation at Kalisindh restricted to 1100MW | IInd HALF YEARLY MAINTENANCE | 01.02.2022
10 | RQ81324 | 400 KV KANKANI-JAISALMER (RS) CKT-2 | Approved | 04-02-2022 08:00 - 04-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Line Equipments | 01.02.2022
85 | RQ81206 | 400/220 KV 315 MVA ICT 3 AT AKAL(RS) | Approved | 04-02-2022 08:00 - 04-02-2022 18:00 |  | Quarterly Maintenance | 01.02.2022
11 | RQ80801 | 400KV BUS 1 AT PHAGI(RS) | Approved | 05-02-2022 08:00 - 05-02-2022 18:00 | Could be given | For Testing Bus Bar Stability (For commissioning work of New ICT-III of 765/400kV, 3*500 MVA ) | 02.02.2022
12 | RQ82235 | 400 KV KANKANI-JAISALMER (RS) CKT-2 | Approved | 05-02-2022 08:00 - 05-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Line Equipments | 02.02.2022
86 | RQ81207 | 400/220 KV 315 MVA ICT 3 AT RATANGARH(RS) | Approved | 05-02-2022 08:00 - 05-02-2022 18:00 |  | Maintenance work of bay equipments , isolators and testing work of bay equipments. | 02.02.2022
13 | RQ81326 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 05-02-2022 18:00 - 05-02-2022 22:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 02.02.2022
14 | RQ81317 | 400 KV BIKANER-MERTA (RS) CKT-1 | Approved | 07-02-2022 08:00 - 07-02-2022 18:00 |  | Routine Maintenance at both end alongwith 50MVAR line reactor at Merta | 04.02.2022
15 | RQ80802 | 400KV BUS 2 AT PHAGI(RS) | Approved | 07-02-2022 08:00 - 07-02-2022 18:00 | Could be given | For Testing Bus Bar Stability (For commissioning work of New ICT-III of 765/400kV, 3*500 MVA ) | 04.02.2022
16 | RQ81192 | 400KV BUS 1 AT DEEDWANA(MTS) | Approved | 07-02-2022 08:00 - 07-02-2022 18:00 |  | For annual preventive maintenance purpose | 04.02.2022
17 | RQ81333 | 400 KV JODHPUR-KANKANI (RS) CKT-1 | Approved | 07-02-2022 08:00 - 07-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Line Equipments | 04.02.2022
87 | RQ81311 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-2 | Approved | 07-02-2022 08:00 - 11-02-2022 18:00 |  | For overhauling of its CB at dadri end | 04.02.2022
18 | RQ81304 | 400 KV PHAGI-AJMER (RS) CKT-1 | Approved | 08-02-2022 08:00 - 08-02-2022 18:00 |  | Half Yearly maintenance work of associated equipments of 400 KV Ajmer-Phagi CKT-I Line & Bay (407) & TIE bay 400 KV Ajmer-Phagi CKT-I (408) | 05.02.2022
19 | RQ81293 | 400 KV AKAL-JAISALMER (RS) CKT-1 | Approved | 08-02-2022 08:00 - 08-02-2022 18:00 |  | Quarterly Maintenance | 05.02.2022
20 | RQ81193 | 400KV BUS 2 AT DEEDWANA(MTS) | Approved | 08-02-2022 08:00 - 08-02-2022 18:00 |  | For annual preventive maintenance purpose | 05.02.2022
21 | RQ81185 | 400KV BUS 1 AT AKAL(RS) | Approved | 08-02-2022 08:00 - 08-02-2022 18:00 |  | Quarterly Maintenance | 05.02.2022
22 | RQ81320 | 400 KV HEERAPURA-HINDAUN (RS) CKT-1 | Approved | 08-02-2022 08:00 - 08-02-2022 18:00 |  | Half yearly Maintance & testing work | 05.02.2022
23 | RQ81260 | 414 TIE BAY - 400KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 AND FUTURE AT KAWAI SCTPS(APR) | Approved | 08-02-2022 08:00 - 08-02-2022 18:00 |  | Annual maintenance and testing of bay equipment's. (CT & Breaker) | 05.02.2022
24 | RQ82234 | 400 KV JODHPUR-KANKANI (RS) CKT-1 | Approved | 08-02-2022 08:00 - 08-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Line Equipments | 05.02.2022
88 | RQ81212 | 400/220 KV 315 MVA ICT 1 AT MERTA(RS) | Approved | 08-02-2022 08:00 - 08-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 05.02.2022
89 | RQ81211 | 400/220 KV 315 MVA ICT 2 AT BIKANER(RS) | Approved | 08-02-2022 08:00 - 08-02-2022 18:00 |  | Routine Maintenance | 05.02.2022
25 | RQ81194 | 400KV BUS 1 AT HINDAUN(RS) | Approved | 09-02-2022 08:00 - 09-02-2022 18:00 |  | Half yearly Maintenance & testing work | 06.02.2022
26 | RQ80807 | 765 KV ANTA-PHAGI (RS) CKT-2 | Approved | 09-02-2022 08:00 - 09-02-2022 18:00 | SPS at Chhabra complex to be in healthy condition and to be in service. | Maitenance of line bay equipments i.e. CVT, WT, LA & line Isolator & Maintenance of Reactors & taking R-Phase in ckt. Inplace of Spare rector and 3x80MVAr Reactor Bank of line at Phagi end | 06.02.2022
27 | RQ81190 | 400KV BUS 1 AT BIKANER(RS) | Approved | 09-02-2022 08:00 - 09-02-2022 18:00 |  | Routine Maintenance | 06.02.2022
90 | RQ81203 | 400/220 KV 315 MVA ICT 2 AT MERTA(RS) | Approved | 09-02-2022 08:00 - 09-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 06.02.2022
91 | RQ81265 | 400/220 KV 315 MVA ICT 1 AT AJMER(RS) | Approved | 09-02-2022 08:00 - 09-02-2022 18:00 |  | Half Yearly maintenance work of 400/220 KV , 315 MVA ICT-I (ALSTOM) & associated equipments of Bay (409) . | 06.02.2022
92 | RQ81318 | 220 KV RAPS_B(NP)-SAKATPURA(RS) (RS) CKT-1 | Approved | 09-02-2022 08:00 - 10-02-2022 18:00 |  | Quartly maintenance work and Testing of Equipment | 06.02.2022
28 | RQ81195 | 400KV BUS 2 AT HINDAUN(RS) | Approved | 10-02-2022 08:00 - 10-02-2022 18:00 |  | Half yearly Maintenance & testing work | 07.02.2022
29 | RQ81327 | 400 KV MERTA-KANKANI (RS) CKT-1 | Approved | 10-02-2022 08:00 - 10-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS at Both END | 07.02.2022
30 | RQ81312 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 10-02-2022 08:00 - 10-02-2022 18:00 |  | Quarterly Maintenance | 07.02.2022
31 | RQ81186 | 400KV BUS 2 AT AKAL(RS) | Approved | 10-02-2022 08:00 - 10-02-2022 18:00 |  | Quarterly Maintenance | 07.02.2022
32 | RQ81319 | 400 KV SIKAR(PG)-RATANGARH(RS) (PG) CKT-2 | Approved | 10-02-2022 08:00 - 10-02-2022 18:00 |  | Maintenance work of bay equipments , isolators and testing work of bay equipments. | 07.02.2022
33 | RQ81305 | 400 KV PHAGI-AJMER (RS) CKT-2 | Approved | 10-02-2022 08:00 - 10-02-2022 18:00 |  | Half Yearly maintenance work of associated equipments of 400 KV Ajmer-Phagi CKT-II Line & Bay (410) & TIE bay 400 KV Ajmer-Phagi CKT-II (411) | 07.02.2022
34 | RQ81259 | 410 MAIN BAY - 400/11 KV 80 MVA ST 2 AT KAWAI SCTPS(APR) | Approved | 10-02-2022 08:00 - 10-02-2022 18:00 |  | Annual maintenance and testing of bay equipment's. (CT & Breaker) | 07.02.2022
35 | RQ80796 | 220 KV MODAK(RS)-BHANPURA(MP) (MPSEB) CKT-1 | Approved | 10-02-2022 09:00 - 10-02-2022 18:00 | Subjected to WRPC approval. Subject to rajasthan consent | For quarterly & half yearly maintenance work of bay equipments at 220 KV GSS Modak | 07.02.2022
36 | RQ80797 | 400 KV ANTA-KALISINDH (RS) CKT-1 | Approved | 11-02-2022 08:00 - 11-02-2022 18:00 | Generation at Kalisindh restricted to 1100MW | IInd HALF YEARLY MAINTENANCE | 08.02.2022
37 | RQ82233 | 400 KV MERTA-KANKANI (RS) CKT-1 | Approved | 11-02-2022 08:00 - 11-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS at Both END | 08.02.2022
93 | RQ81266 | 400/220 KV 315 MVA ICT 3 AT AJMER(RS) | Approved | 11-02-2022 08:00 - 11-02-2022 18:00 |  | Half Yearly maintenance work of 400/220 KV , 315 MVA ICT-III (KANOHAR) & associated equipments of Bay (418) . | 08.02.2022
38 | RQ81196 | 400KV BUS 2 AT RATANGARH(RS) | Approved | 12-02-2022 08:00 - 12-02-2022 18:00 |  | Maintenance work of bay equipments , isolators and testing work of bay equipments. | 09.02.2022
39 | RQ81334 | 400 KV JODHPUR-KANKANI (RS) CKT-2 | Approved | 14-02-2022 08:00 - 14-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Line Equipments | 11.02.2022
94 | RQ81310 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-1 | Approved | 14-02-2022 08:00 - 14-02-2022 18:00 |  | For maintenance Work & tree trimming | 11.02.2022
40 | RQ81258 | 401 MAIN BAY - 63 MVAR BUS REACTOR NO 1 AT 400 KV KAWAI SCTPS(APR) | Approved | 14-02-2022 08:00 - 15-02-2022 18:00 |  | Circuit Breaker Overhauling | 11.02.2022
95 | RQ81210 | 400/220 KV 500 MVA ICT 4 AT AKAL(RS) | Approved | 14-02-2022 08:00 - 18-02-2022 18:00 |  | ATTEND OIL LEAKAGE OF MAINTANK | 11.02.2022
41 | RQ81315 | 400 KV ALWAR(ATIL)-HINDAUN(RS) (ATIL) CKT-1 | Approved | 15-02-2022 08:00 - 15-02-2022 18:00 |  | Shutdown required for Annual maintenance of transmission Line. | 12.02.2022
42 | RQ82232 | 400 KV JODHPUR-KANKANI (RS) CKT-2 | Approved | 15-02-2022 08:00 - 15-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Line Equipments | 12.02.2022
43 | RQ81262 | 403 MAIN BAY - 400KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-1 AT KAWAI SCTPS(APR) | Approved | 16-02-2022 08:00 - 17-02-2022 18:00 |  | Circuit Breaker Overhauling | 13.02.2022
44 | RQ81188 | 400KV BUS 2 AT BABAI(RS) | Approved | 17-02-2022 08:00 - 17-02-2022 18:00 |  | Quarterly Maintenance | 14.02.2022
45 | RQ80805 | 765/400 KV 1500 MVA ICT 2 AT PHAGI(RS) | Approved | 17-02-2022 08:00 - 17-02-2022 18:00 | Loading of other ICT to be managed Locally by rajasthan SLDC | 1. Testing and maintenance of Transforers. 2. Tightening of clamps and connectors | 14.02.2022
46 | RQ81325 | 400 KV RAJWEST(RW)-KANKANI (RS) CKT-1 | Approved | 17-02-2022 08:00 - 17-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Line Equipments | 14.02.2022
47 | RQ81329 | 400 KV SHREE CEMENT(SCL)-MERTA(RS) (PG) CKT-1 | Approved | 17-02-2022 08:00 - 17-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 14.02.2022
48 | RQ81250 | 80 MVAR BUS REACTOR NO 1 AT 400KV CHITTORGARH(RS) | Approved | 17-02-2022 08:00 - 17-02-2022 18:00 |  | FOR MAINTAINCE WORK and Testing work | 14.02.2022
96 | RQ81323 | 220 KV RAPS_A(NP)-SAKATPURA(RS) (RS) CKT-2 | Approved | 17-02-2022 08:00 - 18-02-2022 18:00 |  | Quartly maintenance work and Testing of Equipment | 14.02.2022
49 | RQ81255 | 80 MVAR BUS REACTOR NO 1 AT 400 KV BABAI(RS) | Approved | 17-02-2022 09:30 - 17-02-2022 15:00 |  | Quarterly Maintenance | 14.02.2022
50 | RQ81330 | 400 KV KOTA(PG)-MERTA(RS) (PG) CKT-1 | Approved | 18-02-2022 08:00 - 18-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 15.02.2022
51 | RQ81257 | 80 MVAR SWITCHABLE LR ON 400 KV BABAI(RS)-SURATGARH SCTPS(RVUN) (RS) CKT-1 @BABAI(RS) | Approved | 18-02-2022 08:00 - 18-02-2022 18:00 |  | Quarterly Maintenance | 15.02.2022
52 | RQ81301 | 400 KV BHILWARA-CHITTORGARH (RS) CKT-1 | Approved | 18-02-2022 08:00 - 18-02-2022 18:00 |  | FOR MAINTAINCE WORK and Testing work | 15.02.2022
53 | RQ82228 | 765/400 KV 1500 MVA ICT 2 AT PHAGI(RS) | Approved | 18-02-2022 08:00 - 18-02-2022 18:00 | Loading of other ICT to be managed Locally by rajasthan SLDC | 1. Testing and maintenance of Transforers. 2. Tightening of clamps and connectors | 15.02.2022
54 | RQ82231 | 400 KV RAJWEST(RW)-KANKANI (RS) CKT-1 | Approved | 18-02-2022 08:00 - 18-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Line Equipments | 15.02.2022
55 | RQ81261 | 413 MAIN BAY - 400KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 AT KAWAI SCTPS(APR) | Approved | 18-02-2022 08:00 - 19-02-2022 18:00 |  | Circuit Breaker Overhauling | 15.02.2022
56 | RQ81316 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 18-02-2022 16:00 - 18-02-2022 22:00 |  | Quarterly Maintenance work at 400KV GSS Bhadla aongwith 50 MVAr line reactor at bhadla | 15.02.2022
57 | RQ81296 | 400 KV BIKANER(RS)-DEEDWANA(MTS) (RS) CKT-1 | Approved | 21-02-2022 08:00 - 21-02-2022 18:00 |  | Shutdown required for Annual maintenance of transmission Line. | 18.02.2022
58 | RQ81254 | 125 MVAR BUS REACTOR NO 1 AT 400 KV AKAL(RS) | Approved | 21-02-2022 08:00 - 21-02-2022 18:00 |  | Quarterly Maintenance | 18.02.2022
59 | RQ80809 | 125 MVAR BUS REACTOR NO 1 AT 400KV PHAGI(RS) | Approved | 21-02-2022 08:00 - 21-02-2022 18:00 |  | 1. For the measurement of Tan Delta Bushings. 2. Other maintenance work of Reactor. 3. Tightening of clamp connectors of equipments. | 18.02.2022
97 | RQ81209 | 400/220 KV 315 MVA ICT 1 AT DEEDWANA(MTS) | Approved | 21-02-2022 08:00 - 21-02-2022 18:00 |  | For annual preventive maintenance purpose | 18.02.2022
98 | RQ81214 | 400/220 KV 500 MVA ICT 2 AT KANKANI(RS) | Approved | 21-02-2022 08:00 - 22-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Equipments | 18.02.2022
60 | RQ81251 | 50 MVAR BUS REACTOR NO 1 AT 400KV AKAL(RS) | Approved | 22-02-2022 08:00 - 22-02-2022 18:00 |  | ATTEND OIL LEAKAGE OF MAINTANK | 19.02.2022
61 | RQ80799 | 400KV BUS 1 AT ANTA(RS) | Approved | 23-02-2022 08:00 - 23-02-2022 18:00 |  | IInd HALF YEARLY MAINTENANCE | 20.02.2022
62 | RQ80812 | 70552T TIE BAY - 240 MVAR BUS REACTOR NO 1 AT 765KV PHAGI(RS) (POWERGRID) AND 765 KV AJMER(PG)-PHAGI(RS) (PG) CKT-1 AT 765 KV PHAGI(RS) (POWERGRID) | Approved | 23-02-2022 08:00 - 23-02-2022 18:00 |  | 1.Measurement of tan-delta of CTs 2. Maintenance of CB & CTs. 3. Tightening of clamps & connectors. | 20.02.2022
63 | RQ81252 | 125 MVAR BUS REACTOR NO 1 AT 400KV HINDAUN(RS) | Approved | 23-02-2022 08:00 - 23-02-2022 18:00 |  | Half yearly Maintenance & testing work | 20.02.2022
64 | RQ81182 | 400KV BUS 1 AT KAWAI SCTPS(APR) | Approved | 23-02-2022 09:00 - 24-02-2022 19:00 |  | Annual maintenance of 400 KV Bus connecting isolators. | 20.02.2022
65 | RQ81191 | 400KV BUS 2 AT CHITTORGARH(RS) | Approved | 23-02-2022 09:30 - 25-02-2022 16:00 |  | FOR MAINTAINCE WORK and Testing work of Bus (its connected isolators and breakers) | 20.02.2022
66 | RQ81183 | 400KV BUS 1 AT MERTA(RS) | Approved | 24-02-2022 08:00 - 24-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 21.02.2022
67 | RQ81313 | 400 KV AKAL-RAMGARH (RS) CKT-1 | Approved | 24-02-2022 08:00 - 24-02-2022 18:00 |  | Quarterly Maintenance | 21.02.2022
68 | RQ81187 | 400KV BUS 1 AT BABAI(RS) | Approved | 24-02-2022 08:00 - 24-02-2022 18:00 |  | Quarterly Maintenance | 21.02.2022
99 | RQ81294 | 220 KV AGRA(PG)-BHARATPUR(RS) (PG) CKT-1 | Approved | 24-02-2022 08:00 - 24-02-2022 18:00 |  | For maintenance of line and bay | 21.02.2022
100 | RQ81204 | 400/220 KV 315 MVA ICT 1 AT HINDAUN(RS) | Approved | 24-02-2022 08:00 - 24-02-2022 18:00 |  | Half yearly Maintance & testing work | 21.02.2022
101 | RQ81321 | 220 KV ANTA(NT)-SAKATPURA(RS) (RS) CKT-1 | Approved | 24-02-2022 08:00 - 25-02-2022 18:00 |  | Quartly maintenance work and Testing of Equipment | 21.02.2022
102 | RQ81213 | 400/220 KV 315 MVA ICT 1 AT KANKANI(RS) | Approved | 24-02-2022 08:00 - 25-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Equipments | 21.02.2022
103 | RQ81303 | 220 KV SAWAIMADHOPUR(RS)-DAUSA(RS) (PG) CKT-1 | Approved | 24-02-2022 09:30 - 24-02-2022 14:30 |  | Quarterly maintenance work | 21.02.2022
69 | RQ81299 | 400 KV BHADLA(RS)-BHADLA(PG) (PG) CKT-1 | Approved | 24-02-2022 16:00 - 24-02-2022 22:00 |  | Quarterly Maintenance work at 400KV GSS Bhadla | 21.02.2022
70 | RQ81314 | 400 KV AKAL-RAMGARH (RS) CKT-2 | Approved | 25-02-2022 08:00 - 25-02-2022 18:00 |  | Quarterly Maintenance | 22.02.2022
71 | RQ81184 | 400KV BUS 2 AT MERTA(RS) | Approved | 25-02-2022 08:00 - 25-02-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 22.02.2022
72 | RQ81256 | 80 MVAR SWITCHABLE LR ON 400 KV BABAI(RS)-SURATGARH SCTPS(RVUN) (RS) CKT-2 @BABAI(RS) | Approved | 25-02-2022 08:00 - 25-02-2022 18:00 |  | Quarterly Maintenance | 22.02.2022
73 | RQ80813 | 70652T TIE BAY - 765KV PHAGI(RS)-GWALIOR(PG) (UNDEF) CKT-1 AND 765KV ANTA-PHAGI (RS) CKT-1 AT PHAGI(RS) | Approved | 25-02-2022 08:00 - 25-02-2022 18:00 |  | 1. Measurements of operation timings of CB. 2. Measurement of Tan-delta of Current Transformers . 3. Tightness of clamps & conenctors | 22.02.2022
74 | RQ80800 | 400KV BUS 2 AT ANTA(RS) | Approved | 25-02-2022 08:00 - 25-02-2022 18:00 |  | IInd HALF YEARLY MAINTENANCE | 22.02.2022
104 | RQ81309 | 220 KV ANTA(NT)-LALSOTE(RS) (PG) CKT-1 | Approved | 25-02-2022 08:00 - 25-02-2022 18:00 |  | Quarterly Maintenance | 22.02.2022
105 | RQ81205 | 400/220 KV 315 MVA ICT 2 AT HINDAUN(RS) | Approved | 25-02-2022 08:00 - 25-02-2022 18:00 |  | Half yearly Maintance & testing work | 22.02.2022
106 | RQ81302 | 220 KV AGRA(PG)-SIKANDRA(UP) (PG) CKT-1 | Approved | 25-02-2022 08:00 - 25-02-2022 18:00 |  | For maintenance of line | 22.02.2022
107 | RQ81306 | 220 KV HISSAR(BB)-CHIRAWA(RS) (BB) CKT-1 | Approved | 25-02-2022 08:00 - 25-02-2022 18:00 |  | For bay maintenance & Tree Trimming under the Line requiring Shutdown | 22.02.2022
108 | RQ81307 | 220 KV LALSOTE(RS)-DAUSA(RS) (PG) CKT-1 | Approved | 25-02-2022 09:00 - 25-02-2022 15:00 |  | Quarterly maintenance work at both end | 22.02.2022
75 | RQ81300 | 400 KV BHADLA(RS)-BHADLA(PG) (PG) CKT-2 | Approved | 26-02-2022 16:00 - 26-02-2022 22:00 |  | Quarterly Maintenance work at 400KV GSS Bhadla | 23.02.2022
76 | RQ81197 | 400KV BUS 1KANKANI(RS) | Approved | 27-02-2022 08:00 - 27-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Equipments | 24.02.2022
77 | RQ81198 | 400KV BUS 2KANKANI(RS) | Approved | 28-02-2022 08:00 - 28-02-2022 18:00 |  | Preventive Maintenance work and Testing of Bay & Equipments | 25.02.2022
78 | RQ81297 | 400 KV SURATGARH SCTPS(RVUN)-BIKANER(RS) (RS) CKT-1 | Approved | 28-02-2022 08:00 - 28-02-2022 18:00 |  | Shutdown required for Annual maintenance of transmission Line. | 25.02.2022
79 | RQ81298 | 400 KV SURATGARH SCTPS(RVUN)-BIKANER(RS) (RS) CKT-2 | Approved | 28-02-2022 08:00 - 28-02-2022 18:00 |  | Auto Reclosure to be kept OFF (Disable) for safety purpose during shutdown of 400 kV SSCTPS-Bikaner (ATRL) CKT-1. | 25.02.2022
80 | RQ81308 | 400 KV HINDAUN(RS)-CHHABRA(RVUN) (RS) CKT-1 | Approved | 28-02-2022 08:00 - 28-02-2022 18:00 |  | Half yearly Maintance & testing work | 25.02.2022
81 | RQ81189 | 400KV BUS 2 AT BHADLA(RS) | Approved | 28-02-2022 16:00 - 28-02-2022 22:00 |  | Quarterly Maintenance work at 400KV GSS Bhadla | 25.02.2022

## Rejected
S.No. | Shutdown No | Element Name | RPC Status | RPC ShutDown Range | RPC Remarks | Reason | D-3 Req. Date
1 | RQ81295 | 400 KV BIKANER(PG)-BHADLA(RS) (PG) CKT-1 | Rejected | - | consent denied by powergrid.deferred to next occ | Quarterly Maintenance work at 400KV GSS Bhadla along with 50 MVAR line reactor at Bhadla