## Sheet 1
| Element Name | RPC Status | RPC ShutDown Range | RPC Remarks | Reason | D-3 Req Date
1 | 400 KV MERTA-RATANGARH (RS) CKT-1 | Approved | 01-11-2022 08:00 - 01-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 29.10.2022
2 | 400/220 KV 315 MVA ICT 1 AT KALISINDH(RS) | Approved | 01-11-2022 08:00 - 10-11-2022 18:00 | Subject to availability of both lines | Annual Shutdown with Oil filtration | 29.10.2022
3 | 400 KV AKAL-RAMGARH (RS) CKT-1 | Approved | 02-11-2022 08:00 - 02-11-2022 18:00 |  | Quarterly Maintenance | 30.10.2022
4 | 400 KV MERTA-KANKANI (RS) CKT-1 | Approved | 02-11-2022 08:00 - 02-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 30.10.2022
5 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-2 | Approved | 02-11-2022 08:00 - 05-11-2022 18:00 |  | For replacement of isolator at 220KV GSS BBMB Charkhi Dadri( Automation work) | 30.10.2022
6 | 125 MVAR BUS REACTOR NO 1 AT 400KV MERTA(RS) | Approved | 03-11-2022 08:00 - 03-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 31.10.2022
7 | 400/220 KV 315 MVA ICT 1 AT DEEDWANA(MTS) | Approved | 03-11-2022 08:00 - 03-11-2022 18:00 |  | For CSD commissioning and online testing | 31.10.2022
8 | 400/220 KV 315 MVA ICT 1 AT JODHPUR(RS) | Approved | 03-11-2022 08:00 - 03-11-2022 18:00 |  | Preventive Maintenance Work and Topping up of Transformer oil. | 31.10.2022
9 | 70252B MAIN BAY - 765/400KV 1500 MVA ICT 2 AT PHAGI(RS) | Approved | 03-11-2022 08:00 - 03-11-2022 18:00 |  | FOR Quarterly maintenance | 31.10.2022
10 | 400 KV AKAL-RAMGARH (RS) CKT-2 | Approved | 03-11-2022 08:00 - 03-11-2022 18:00 |  | Quarterly Maintenance | 31.10.2022
11 | 220 KV ANTA(NT)-SAWAIMADHOPUR(RS) (PG) CKT-1 | Approved | 03-11-2022 11:00 - 03-11-2022 16:00 |  | For Half yearly Maintenance at 220kV GSS SWM | 31.10.2022
12 | 400 KV BIKANER(PG)-BIKANER(RS) (PG) CKT-1 | Approved | 03-11-2022 18:00 - 03-11-2022 23:00 |  | Routine Maintenance | 31.10.2022
13 | 400 KV AKAL-KANKANI (RS) CKT-1 | Approved | 04-11-2022 08:00 - 04-11-2022 18:00 |  | Quarterly Maintenance | 01.11.2022
14 | 400 KV MERTA-HEERAPURA (RS) CKT-1 | Approved | 04-11-2022 08:00 - 04-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 01.11.2022
15 | 400/220 KV 315 MVA ICT 2 AT DEEDWANA(MTS) | Approved | 04-11-2022 08:00 - 04-11-2022 18:00 |  | For CSD commissioning and online testing | 01.11.2022
16 | 400/220 KV 315 MVA ICT 2 AT JODHPUR(RS) | Approved | 04-11-2022 08:00 - 04-11-2022 18:00 |  | Preventive Maintenance Work and Replacement of B-phase 220KV Side C.T.. | 01.11.2022
17 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 04-11-2022 18:00 - 04-11-2022 23:00 |  | Routine Maintenance | 01.11.2022
18 | 400 KV KOTA(PG)-MERTA(RS) (PG) CKT-1 | Approved | 05-11-2022 08:00 - 05-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 02.11.2022
19 | 50 MVAR BUS REACTOR NO 1 AT 400KV DEEDWANA(MTS) | Approved | 05-11-2022 08:00 - 05-11-2022 18:00 |  | For CSD commissioning and online testing | 02.11.2022
20 | 400 KV BIKANER(RS)-DEEDWANA(MTS) (RS) CKT-1 | Approved | 05-11-2022 08:00 - 12-11-2022 18:00 | Subject to necessary CEA clearance and no shutdown from both ends.Voltage mgmt. should be done by Rajasthan and study should be carried out by NRLDC before giving S/D | Shutdown required for shifting of T/L works due to construction of Nataional Highway Amritsar-Jamnagar T/L under Bharatmala project of PIU - Hanumangarh. | 02.11.2022
21 | 40452C MAIN BAY - 400 KV BASSI(PG)-PHAGI(RS) (PG) CKT-1 AT BASSI(PG) | Approved | 07-11-2022 08:00 - 07-11-2022 18:00 |  | FOR Quarterly maintenance | 04.11.2022
22 | 402-52D MAIN BAY - 400 KV ANTA-CHHABRA (RS) CKT-1 (RRVPNL) | Approved | 07-11-2022 08:00 - 07-11-2022 18:00 |  | FOR Quarterly maintenance | 04.11.2022
23 | 400 KV AKAL-JAISALMER (RS) CKT-1 | Approved | 07-11-2022 08:00 - 07-11-2022 18:00 |  | Quarterly Maintenance | 04.11.2022
24 | 400/11 KV 80 MVA ST 1 AT KAWAI SCTPS(APR) | Approved | 07-11-2022 08:00 - 08-11-2022 18:00 |  | Annual maintenance and testing of station transformer#1 & bay equipments. | 04.11.2022
25 | 400 KV SHREE CEMENT(SCL)-MERTA(RS) (PG) CKT-1 | Approved | 09-11-2022 08:00 - 09-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 06.11.2022
26 | 125 MVAR BUS REACTOR NO 2 AT 400KV BIKANER(RS) | Approved | 09-11-2022 08:00 - 09-11-2022 18:00 |  | Quarterly Maintenance | 06.11.2022
27 | 401 MAIN BAY - 400KV AJMER-BHILWARA (RS) CKT-1 AND SELECT AT AJMER(RS) | Approved | 09-11-2022 08:00 - 09-11-2022 18:00 |  | FOR Quarterly maintenance | 06.11.2022
28 | 400 KV AKAL-BARMER (RS) CKT-1 | Approved | 09-11-2022 08:00 - 09-11-2022 18:00 |  | Quarterly Maintenance | 06.11.2022
29 | 403-52D MAIN BAY - 400 KV ANTA-KALISINDH (RS) CKT-2 (RRVPNL) | Approved | 10-11-2022 08:00 - 10-11-2022 18:00 |  | FOR Quarterly maintenance | 07.11.2022
30 | 40752C MAIN BAY - 765/400KV 1500 MVA ICT 1 AT PHAGI(RS) | Approved | 10-11-2022 08:00 - 10-11-2022 18:00 |  | FOR Quarterly maintenance | 07.11.2022
31 | 400 KV BIKANER-MERTA (RS) CKT-1 | Approved | 10-11-2022 08:00 - 10-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS alongwith 50MVAR line Reactor- at Merta | 07.11.2022
32 | 400/220 KV 500 MVA ICT 1 AT AKAL(RS) | Approved | 10-11-2022 08:00 - 10-11-2022 18:00 |  | Quarterly Maintenance | 07.11.2022
33 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-1 | Approved | 10-11-2022 08:00 - 10-11-2022 18:00 |  | For Tree trimming & bay maintenance work | 07.11.2022
34 | 402 TIE BAY - 400KV AJMER-BHILWARA (RS) CKT-1 AND FUTURE AT AJMER(RS) | Approved | 10-11-2022 08:00 - 10-11-2022 18:00 |  | FOR Quarterly maintenance | 07.11.2022
35 | 400KV BUS 1 AT KAWAI SCTPS(APR) | Approved | 10-11-2022 08:00 - 11-11-2022 18:00 |  | Annual maintenance & testing of 400 KV Bus - 1 & connecting isolators. | 07.11.2022
36 | 220 KV BASSI(PG)-INDIRA NAGAR(RS) (PG) CKT-1 | Approved | 11-11-2022 08:00 - 11-11-2022 18:00 |  | Quartererly maintenance of Bay Equipment | 08.11.2022
37 | 705-52A MAIN BAY - 765 KV ANTA-PHAGI (RS) CKT-2 (RRVPNL) AT 765KV ANTA(RS) | Approved | 11-11-2022 08:00 - 11-11-2022 18:00 |  | FOR Quarterly maintenance | 08.11.2022
38 | 400/220 KV 315 MVA ICT 1 AT BIKANER(RS) | Approved | 11-11-2022 08:00 - 11-11-2022 18:00 |  | Routine Maintenance | 08.11.2022
39 | 404 MAIN BAY - 400KV AJMER-BHILWARA (RS) CKT-2 AND SELECT AT AJMER(RS) | Approved | 11-11-2022 08:00 - 11-11-2022 18:00 |  | FOR Quarterly maintenance | 08.11.2022
40 | 400/220 KV 500 MVA ICT 2 AT AKAL(RS) | Approved | 11-11-2022 08:00 - 11-11-2022 18:00 |  | Quarterly Maintenance | 08.11.2022
41 | 50 MVAR BUS REACTOR NO 1 AT 400KV KALISINDH(RS) | Approved | 11-11-2022 08:00 - 17-11-2022 18:00 |  | Annual maintenance and Oil Filtration | 08.11.2022
42 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 11-11-2022 18:00 - 11-11-2022 23:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 08.11.2022
43 | 404-52D MAIN BAY - 400 KV ANTA-KALISINDH (RS) CKT-1 (RRVPNL) | Approved | 14-11-2022 08:00 - 14-11-2022 18:00 |  | FOR Quarterly maintenance | 11.11.2022
44 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-1 | Approved | 14-11-2022 08:00 - 14-11-2022 18:00 | Could be given on Daily Basis | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 11.11.2022
45 | 400/220 KV 315 MVA ICT 1 AT MERTA(RS) | Approved | 14-11-2022 08:00 - 14-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 11.11.2022
46 | 400/220 KV 315 MVA ICT 1 AT RATANGARH(RS) | Approved | 14-11-2022 08:00 - 15-11-2022 18:00 |  | Maintenance work of bay equipments , isolators with testing and oil filling in ILT-1st. | 11.11.2022
47 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 14-11-2022 08:00 - 18-11-2022 18:00 | Subject to necessary CEA clearance and no shutdown from both ends | repairing of damaged tower at Loc. 285 and tie breaker | 11.11.2022
48 | 220 KV LALSOTE(RS)-DAUSA(RS) (PG) CKT-1 | Approved | 14-11-2022 09:30 - 14-11-2022 15:30 |  | Quarterly maintenance work | 11.11.2022
49 | 220 KV ANTA(NT)-LALSOTE(RS) (PG) CKT-1 | Approved | 14-11-2022 09:30 - 14-11-2022 15:30 |  | Quarterly Maintenance | 11.11.2022
50 | 400/220 KV 315 MVA ICT 2 AT MERTA(RS) | Approved | 15-11-2022 08:00 - 15-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 12.11.2022
51 | 40852C MAIN BAY - 400KV PHAGI-HEERAPURA (RS) CKT-1 AT PHAGI(RS) | Approved | 15-11-2022 08:00 - 15-11-2022 18:00 |  | FOR Quarterly maintenance | 12.11.2022
52 | 406-52D MAIN BAY - 400 KV ANTA-CHHABRA SCTPS (RS) CKT-1 (RRVPNL) | Approved | 15-11-2022 08:00 - 15-11-2022 18:00 |  | FOR Quarterly maintenance | 12.11.2022
53 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-1 | Approved | 15-11-2022 08:00 - 15-11-2022 18:00 | Could be given on Daily Basis | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 12.11.2022
54 | 405 TIE BAY - 400KV AJMER(RS)-DEEDWANA(MTS) (MTS) CKT-1 AND 400KV AJMER-BHILWARA (RS) CKT-2 AT AJMER(RS) | Approved | 16-11-2022 08:00 - 16-11-2022 18:00 |  | FOR Quarterly maintenance | 13.11.2022
55 | 400KV BUS 1 AT MERTA(RS) | Approved | 16-11-2022 08:00 - 16-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 13.11.2022
56 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-2 | Approved | 16-11-2022 08:00 - 16-11-2022 18:00 | Could be given on Daily Basis | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 13.11.2022
57 | 408-52D MAIN BAY - 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-1 (RRVPNL) | Approved | 17-11-2022 08:00 - 17-11-2022 18:00 |  | FOR Quarterly maintenance | 14.11.2022
58 | 400KV BUS 1 AT BABAI(RS) | Approved | 17-11-2022 08:00 - 17-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 14.11.2022
59 | 400KV BUS 2 AT MERTA(RS) | Approved | 17-11-2022 08:00 - 17-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 14.11.2022
60 | 132 KV AMARPURATHEDI(RS)-HISAR(BB) (RS) CKT-1 | Approved | 17-11-2022 08:00 - 17-11-2022 18:00 |  | for Line Maintenance | 14.11.2022
61 | 406 MAIN BAY - 400KV AJMER(RS)-DEEDWANA(MTS) (MTS) CKT-1 AND SELECT AT AJMER(RS) | Approved | 17-11-2022 08:00 - 17-11-2022 18:00 |  | FOR Quarterly maintenance | 14.11.2022
62 | 80 MVAR SWITCHABLE LR ON 400 KV BABAI(RS)-SURATGARH SCTPS(RVUN) (RS) CKT-1 @BABAI(RS) | Approved | 17-11-2022 08:00 - 17-11-2022 18:00 |  | Quarterly Maintenance | 14.11.2022
63 | 220 KV DEBARI(RS)-RAPS_A(NP) (RS) CKT-1 | Approved | 17-11-2022 08:00 - 17-11-2022 18:00 |  | General Maintenance & Tree trimming Work | 14.11.2022
64 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-2 | Approved | 17-11-2022 08:00 - 17-11-2022 18:00 | Could be given on Daily Basis | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 14.11.2022
65 | 400/220 KV 315 MVA ICT 2 AT RATANGARH(RS) | Approved | 17-11-2022 08:00 - 18-11-2022 18:00 |  | Maintenance work of bay equipments , isolators with testing and oil filling in ILT-II | 14.11.2022
66 | 400KV BUS 2 AT BABAI(RS) | Approved | 18-11-2022 08:00 - 18-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 15.11.2022
67 | 400 KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 | Approved | 18-11-2022 08:00 - 18-11-2022 18:00 | Could be given on Daily Basis | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 15.11.2022
68 | 407 MAIN BAY - 400 KV PHAGI-AJMER (RS) CKT-1 (RRVPNL) | Approved | 18-11-2022 08:00 - 18-11-2022 18:00 |  | FOR Quarterly maintenance | 15.11.2022
69 | 419 MAIN BAY - 765/400KV 1500 MVA ICT 2 AT PHAGI(RS) | Approved | 18-11-2022 08:00 - 18-11-2022 18:00 |  | FOR Quarterly maintenance | 15.11.2022
70 | 220 KV RAPS_B(NP)-DEBARI(RS) (PG) CKT-1 | Approved | 18-11-2022 08:00 - 18-11-2022 18:00 |  | General Maintenance & Tree trimming Work | 15.11.2022
71 | 80 MVAR BUS REACTOR NO 1 AT 400 KV BABAI(RS) | Approved | 18-11-2022 08:00 - 18-11-2022 18:00 |  | Quarterly Maintenance | 15.11.2022
72 | 409-52D MAIN BAY - 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-2 (RRVPNL) | Approved | 18-11-2022 08:00 - 18-11-2022 18:00 |  | FOR Quarterly maintenance | 15.11.2022
73 | 50 MVAR BUS REACTOR NO 2 AT 400KV KALISINDH(RS) | Approved | 18-11-2022 08:00 - 24-11-2022 18:00 |  | Annual maintenance and Oil Filtration | 15.11.2022
74 | 220 KV SAWAIMADHOPUR(RS)-DAUSA(RS) (PG) CKT-1 | Approved | 18-11-2022 09:30 - 18-11-2022 15:30 |  | Quarterly maintenance work | 15.11.2022
75 | 400 KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 | Approved | 19-11-2022 08:00 - 19-11-2022 18:00 | Could be given on Daily Basis | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 16.11.2022
76 | 400/220 KV 315 MVA ICT 3 AT AKAL(RS) | Approved | 21-11-2022 08:00 - 21-11-2022 18:00 |  | Quarterly Maintenance | 18.11.2022
77 | 408 TIE BAY - 400/220KV 315 MVA ICT 1 AT AJMER(RS) AND 400KV PHAGI-AJMER (RS) CKT-1 | Approved | 21-11-2022 08:00 - 21-11-2022 18:00 |  | FOR Quarterly maintenance | 18.11.2022
78 | 411-52 D MAIN BAY - 400KV BUS 2 AT ANTA(RS) AND FUTURE AT 400 KV ANTA(RS) | Approved | 21-11-2022 08:00 - 21-11-2022 18:00 |  | FOR Quarterly maintenance | 18.11.2022
79 | 400KV BUS 1 AT HINDAUN(RS) | Approved | 21-11-2022 08:00 - 21-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 18.11.2022
80 | 411-52T TIE BAY - 765/400 KV 1500 MVA ICT 3 AT ANTA(RS) AND FUTURE AT 400 KV ANTA(RS) | Approved | 21-11-2022 08:00 - 21-11-2022 18:00 |  | FOR Quarterly maintenance | 18.11.2022
81 | 400/220 KV 315 MVA ICT 3 AT RATANGARH(RS) | Approved | 21-11-2022 08:00 - 22-11-2022 18:00 |  | Maintenance work of bay equipments , isolators with testing and oil filling in ILT-3rd. | 18.11.2022
82 | 63 MVAR BUS REACTOR NO 1 AT 400 KV KAWAI SCTPS(APR) | Approved | 21-11-2022 08:00 - 24-11-2022 18:00 |  | Annual maintenance and testing of bus reactor#1 & Bay equipments. | 18.11.2022
83 | 400KV BUS 2 AT HINDAUN(RS) | Approved | 22-11-2022 08:00 - 22-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 19.11.2022
84 | 403-52T TIE BAY - 400 KV ANTA-KALISINDH (RS) CKT-2 (RRVPNL) AND FUTURE AT 400 KV ANTA(RS) (RRVPNL) | Approved | 22-11-2022 08:00 - 22-11-2022 18:00 |  | FOR Quarterly maintenance | 19.11.2022
85 | 400/220 KV 500 MVA ICT 4 AT AKAL(RS) | Approved | 22-11-2022 08:00 - 22-11-2022 18:00 |  | Quarterly Maintenance | 19.11.2022
86 | 400/220 KV 315 MVA ICT 1 AT AJMER(RS) | Approved | 22-11-2022 08:00 - 22-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 19.11.2022
87 | 40552C MAIN BAY - 400 KV BASSI(PG)-PHAGI(RS) (PG) CKT-2 AT BASSI(PG) | Approved | 22-11-2022 08:00 - 22-11-2022 18:00 |  | FOR Quarterly maintenance | 19.11.2022
88 | 400 KV HINDAUN(RS)-CHHABRA(RVUN) (RS) CKT-1 | Approved | 23-11-2022 08:00 - 23-11-2022 18:00 |  | Quarterly and Half yearly Maintenance work | 20.11.2022
89 | 125 MVAR BUS REACTOR NO 1 AT 400 KV AKAL(RS) | Approved | 23-11-2022 08:00 - 23-11-2022 18:00 |  | Quarterly Maintenance | 20.11.2022
90 | 410 MAIN BAY - 400KV PHAGI-AJMER (RS) CKT-2 AND SELECT AT AJMER(RS) | Approved | 23-11-2022 08:00 - 23-11-2022 18:00 |  | FOR Quarterly maintenance | 20.11.2022
91 | 220 KV AGRA(PG)-BHARATPUR(RS) (PG) CKT-1 | Approved | 24-11-2022 08:00 - 24-11-2022 18:00 |  | For bay and line maintenance work | 21.11.2022
92 | 404-52T TIE BAY - 400 KV ANTA-KALISINDH (RS) CKT-1 (RRVPNL) AND FUTURE AT 400 KV ANTA(RS) (RRVPNL) | Approved | 24-11-2022 08:00 - 24-11-2022 18:00 |  | FOR Quarterly maintenance | 21.11.2022
93 | 400 KV SIKAR(PG)-BABAI(RS) (NRSS36) CKT-1 | Approved | 24-11-2022 08:00 - 24-11-2022 18:00 |  | Quarterly Maintenance | 21.11.2022
94 | 220 KV BASSI(PG)-DAUSA(RS) (PG) CKT-1 | Approved | 24-11-2022 08:00 - 24-11-2022 18:00 |  | Quarterly maintenance work | 21.11.2022
95 | 220 KV HISSAR(BB)-CHIRAWA(RS) (BB) CKT-1 | Approved | 24-11-2022 08:00 - 24-11-2022 18:00 |  | Quartely maintenance work | 21.11.2022
96 | 125 MVAR BUS REACTOR NO 1 AT 400KV HINDAUN(RS) | Approved | 24-11-2022 08:00 - 24-11-2022 18:00 |  | Quarterly and Half yearly Maintenance work | 21.11.2022
97 | 50 MVAR BUS REACTOR NO 1 AT 400KV AKAL(RS) | Approved | 24-11-2022 08:00 - 24-11-2022 18:00 |  | Quarterly Maintenance | 21.11.2022
98 | 414 TIE BAY - 400KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 AND FUTURE AT KAWAI SCTPS(APR) | Approved | 24-11-2022 08:00 - 26-11-2022 18:00 |  | 400kV Circuit Breaker Overhauling to be done as there is deviation in DCRM signature | 21.11.2022
99 | 400KV BUS 2 AT PHAGI(RS) | Approved | 25-11-2022 08:00 - 25-11-2022 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 22.11.2022
100 | 220 KV BASSI(PG)-DAUSA(RS) (PG) CKT-2 | Approved | 25-11-2022 08:00 - 25-11-2022 18:00 |  | Quarterly maintenance work | 22.11.2022
101 | 220 KV AGRA(PG)-SIKANDRA(UP) (PG) CKT-1 | Approved | 25-11-2022 08:00 - 25-11-2022 18:00 |  | For line maintenance work | 22.11.2022
102 | 409 MAIN BAY - 63 MVAR BUS REACTOR NO 2 AT 400 KV KAWAI SCTPS(APR) | Approved | 27-11-2022 08:00 - 30-11-2022 18:00 |  | 400kV Circuit Breaker Overhauling to be done as there is deviation in DCRM signature | 24.11.2022