## Approved
1 | RQ119566 | 400 KV MERTA-RATANGARH (RS) CKT-1 | Approved | 01-02-2023 08:00 - 01-02-2023 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 29.01.23
2 | RQ119564 | 400 KV HEERAPURA-HINDAUN (RS) CKT-1 | Approved | 01-02-2023 08:00 - 18-02-2023 18:00 | OCC Forum instructed Rajasthan that at Hindaun end,voltage will be managed by Rajasthan. Rajasthan SLDC had asked to defer the Shutdown till March. | Modification & height raising work at tower location no. 307 & 308(Crossing of Delhi-Mumbai Express Highway) carried out by NHAI under Supervision of RVPNL. | 29.01.23
3 | RQ119731 | 400 KV JODHPUR-KANKANI (RS) CKT-1 | Approved | 02-02-2023 08:00 - 02-02-2023 18:00 |  | Quaterly Preventive Maintenance and testing work. | 30.01.23
4 | RQ119555 | 400 KV MERTA-KANKANI (RS) CKT-1 | Approved | 02-02-2023 08:00 - 02-02-2023 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 30.01.23
5 | RQ119346 | 125 MVAR BUS REACTOR NO 2 AT 400KV BIKANER(RS) | Approved | 02-02-2023 08:00 - 02-02-2023 18:00 |  | Routine Bay Maintenance Work | 30.01.23
6 | RQ119347 | 125 MVAR BUS REACTOR NO 1 AT 400KV MERTA(RS) | Approved | 03-02-2023 08:00 - 03-02-2023 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 31.01.23
7 | RQ119246 | 400/220 KV 315 MVA ICT 2 AT BIKANER(RS) | Approved | 03-02-2023 08:00 - 03-02-2023 18:00 |  | Routine Bay Maintenance Work | 31.01.23
8 | RQ119818 | 40452T TIE BAY - 400/220 KV 315 MVA ICT 1 AT JODHPUR(RS) (RRVPNL) AND 400 KV JODHPUR-KANKANI (RS) CKT-1 AT 400 KV JODHPUR(RS) (RRVPNL) | Approved | 03-02-2023 09:00 - 03-02-2023 18:00 |  | FOR Quarterly maintenance | 31.01.23
9 | RQ119565 | 400 KV MERTA-HEERAPURA (RS) CKT-1 | Approved | 04-02-2023 08:00 - 04-02-2023 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 01.02.23
10 | RQ119692 | 705-52A MAIN BAY - 765 KV ANTA-PHAGI (RS) CKT-2 (RRVPNL) AT 765KV ANTA(RS) | Approved | 06-02-2023 08:00 - 06-02-2023 18:00 |  | HALF YEARLY MAINTENANCE | 03.02.23
11 | RQ119279 | 400KV BUS 1 AT MERTA(RS) | Approved | 06-02-2023 08:00 - 06-02-2023 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 03.02.23
12 | RQ119681 | 70152T TIE BAY - 765KV PHAGI(RS)-BHIWANI(PG) (PG) CKT-2 AND 765/400KV 1500 MVA ICT 1 AT PHAGI(RS) | Approved | 06-02-2023 08:00 - 06-02-2023 18:00 |  | 1. To check the open / close time of CB. 2. Measurement of Tan-delta of CTs. 3. Maintenance of CB & CTs. 4. Tightening of clamps & connectors. | 03.02.23
13 | RQ119344 | 63 MVAR BUS REACTOR NO 2 AT 400 KV KAWAI SCTPS(APR) | Approved | 06-02-2023 08:00 - 07-02-2023 18:00 |  | Annual maintenance and testing of bus reactor#2 & Bay equipments. | 03.02.23
14 | RQ119349 | 400 KV BIKANER(PG)-BHADLA(RS) (PG) CKT-1 | Approved | 06-02-2023 08:00 - 13-02-2023 18:00 |  | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations ( (anti- theft charged upto loc. No. 438 from 400kV GSS, Bhadla) | 03.02.23
15 | RQ119363 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 06-02-2023 08:00 - 13-02-2023 18:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations ( (anti- theft charged upto loc. No. 438 from 400kV GSS, Bhadla) | 03.02.23
16 | RQ119820 | 403 MAIN BAY - 400/220KV 315 MVA ICT 1 AT JODHPUR(RS) | Approved | 06-02-2023 09:00 - 06-02-2023 18:00 |  | Quarterly Maintenance | 03.02.23
17 | RQ119244 | 400/220 KV 315 MVA ICT 1 AT JODHPUR(RS) | Approved | 07-02-2023 08:00 - 07-02-2023 18:00 |  | Quaterly Preventive Maintenance and testing work. | 04.02.23
18 | RQ119693 | 706-52B MAIN BAY - 765/400 KV 1500 MVA ICT 3 AT ANTA(RS) (RRVPNL) | Approved | 07-02-2023 08:00 - 07-02-2023 18:00 |  | HALF YEARLY MAINTENANCE | 04.02.23
19 | RQ119280 | 400KV BUS 2 AT MERTA(RS) | Approved | 07-02-2023 08:00 - 07-02-2023 18:00 |  | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 04.02.23
20 | RQ119680 | 70252T TIE BAY - 765KV PHAGI(RS)-BHIWANI(PG) (PG) CKT-1 AND 765/400KV 1500 MVA ICT 2 AT PHAGI(RS) | Approved | 08-02-2023 08:00 - 08-02-2023 18:00 |  | 1. To check the open / close time of CB. 2. Measurement of Tan-delta of CTs. 3. Maintenance of CB & CTs. 4. Tightening of clamps & connectors. | 05.02.23
21 | RQ119247 | 400/220 KV 315 MVA ICT 2 AT JODHPUR(RS) | Approved | 08-02-2023 08:00 - 08-02-2023 18:00 |  | Quaterly Preventive Maintenance and testing work. & Replacement of damaged 400 KV Post Insulators. | 05.02.23
22 | RQ119360 | 220 KV BASSI(PG)-INDIRA NAGAR(RS) (PG) CKT-1 | Approved | 08-02-2023 08:00 - 08-02-2023 18:00 |  | Quartererly maintenance of Bay Equipment | 05.02.23
23 | RQ119567 | 220 KV ANTA(NT)-SAKATPURA(RS) (RS) CKT-1 | Approved | 09-02-2023 08:00 - 09-02-2023 18:00 |  | Quartly maintenance work and Testing of Equipment | 06.02.23
24 | RQ119678 | 70552T TIE BAY - 240 MVAR BUS REACTOR NO 1 AT 765KV PHAGI(RS) (POWERGRID) AND 765 KV AJMER(PG)-PHAGI(RS) (PG) CKT-1 AT 765 KV PHAGI(RS) (POWERGRID) | Approved | 09-02-2023 08:00 - 09-02-2023 18:00 |  | 1. To check the open / close time of CB. 2. Measurement of Tan-delta of CTs. 3. Maintenance of CB & CTs. 4. Tightening of clamps & connectors. | 06.02.23
25 | RQ121581 | 400/220 KV 315 MVA ICT 2 AT JODHPUR(RS) | Approved | 09-02-2023 08:00 - 09-02-2023 18:00 |  | Quaterly Preventive Maintenance and testing work. & Replacement of damaged 400 KV Post Insulators. | 06.02.23
26 | RQ119248 | 400/11 KV 80 MVA ST 1 AT KAWAI SCTPS(APR) | Approved | 09-02-2023 08:00 - 10-02-2023 18:00 |  | Annual maintenance and testing of station transformer#1 & bay equipments. | 06.02.23
27 | RQ119557 | 400 KV AKAL-KANKANI (RS) CKT-1 | Approved | 10-02-2023 08:00 - 10-02-2023 18:00 |  | Maintenance Work of line alongwith 50 MVAR line reactor at Akal | 07.02.23
28 | RQ119691 | 706-52T TIE BAY - 765/400 KV 1500 MVA ICT 3 AT ANTA(RS) (RRVPNL) AND FUTURE AT 765 KV ANTA(RS) (RRVPNL) | Approved | 10-02-2023 08:00 - 10-02-2023 18:00 |  | HALF YEARLY MAINTENANCE | 07.02.23
29 | RQ119819 | 406 MAIN BAY - 400/220KV 315 MVA ICT 2 AT JODHPUR(RS) | Approved | 10-02-2023 09:00 - 10-02-2023 18:00 |  | FOR Quarterly maintenance | 07.02.23
30 | RQ119278 | 400KV BUS 1 AT KAWAI SCTPS(APR) | Approved | 11-02-2023 08:00 - 11-02-2023 18:00 | May be given on daily Basis subject to real time grid conditions | Annual maintenance & testing of 400 KV Bus - 1 & connecting isolators. | 08.02.23
31 | RQ121488 | 400KV BUS 1 AT KAWAI SCTPS(APR) | Approved | 12-02-2023 08:00 - 12-02-2023 18:00 | May be given on daily Basis subject to real time grid conditions | Annual maintenance & testing of 400 KV Bus - 1 & connecting isolators. | 09.02.23
32 | RQ119345 | 50 MVAR BUS REACTOR NO 1 AT 400KV AKAL(RS) | Approved | 13-02-2023 08:00 - 13-02-2023 18:00 |  | Maintenance Work | 10.02.23
33 | RQ119679 | 70652T TIE BAY - 765KV PHAGI(RS)-GWALIOR(PG) (UNDEF) CKT-1 AND 765KV ANTA-PHAGI (RS) CKT-1 AT PHAGI(RS) | Approved | 13-02-2023 08:00 - 13-02-2023 18:00 |  | 1. To check the open / close time of CB. 2. Measurement of Tan-delta of CTs. 3. Maintenance of CB & CTs. 4. Tightening of clamps & connectors. | 10.02.23
34 | RQ119238 | 765/400 KV 1500 MVA ICT 1 AT ANTA(RS) | Approved | 13-02-2023 08:00 - 14-02-2023 18:00 |  | HALF YEARLY MAINTENANCE & TESTING WORK | 10.02.23
35 | RQ119348 | 125 MVAR BUS REACTOR NO 1 AT 400 KV AKAL(RS) | Approved | 14-02-2023 08:00 - 14-02-2023 18:00 |  | Maintenance Work | 11.02.23
36 | RQ119361 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-1 | Approved | 14-02-2023 08:00 - 14-02-2023 18:00 | May be given on daily Basis subject to real time grid conditions | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 11.02.23
37 | RQ119817 | 405 TIE BAY - 400/220KV 315 MVA ICT 2 AT JODHPUR(RS) AND 400KV BHADLA(RS)-JODHPUR(RS) (UNDEF) CKT-1 | Approved | 14-02-2023 09:00 - 14-02-2023 18:00 | Shutdown may be given from 1400 Hrs | Quarterly Maintenance | 11.02.23
38 | RQ119551 | 400 KV RAJWEST(RW)-KANKANI (RS) CKT-1 | Approved | 15-02-2023 08:00 - 15-02-2023 18:00 |  | Planned maintenance | 12.02.23
39 | RQ119554 | 400 KV BHILWARA-CHITTORGARH (RS) CKT-2 | Approved | 15-02-2023 08:00 - 15-02-2023 18:00 | May be given from 1700 Hrs | Routine maintenance of 400 KV Bhilwara-Chittorgarh Ckt-2 Bay & ASSOCIATED BAY EQUIPMENTS | 12.02.23
40 | RQ119552 | 220 KV DEBARI(RS)-RAPS_A(NP) (RS) CKT-1 | Approved | 15-02-2023 08:00 - 15-02-2023 18:00 |  | General Maintenance & Tree trimming Work | 12.02.23
41 | RQ119249 | 400/220 KV 500 MVA ICT 1 AT AKAL(RS) | Approved | 15-02-2023 08:00 - 15-02-2023 18:00 |  | Maintenance Work | 12.02.23
42 | RQ121235 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-1 | Approved | 15-02-2023 08:00 - 15-02-2023 18:00 | May be given on daily Basis subject to real time grid conditions | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 12.02.23
43 | RQ119362 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-2 | Approved | 16-02-2023 08:00 - 16-02-2023 18:00 | May be given on daily Basis subject to real time grid conditions | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 13.02.23
44 | RQ119357 | 400 KV PHAGI-AJMER (RS) CKT-1 | Approved | 16-02-2023 08:00 - 16-02-2023 18:00 |  | 1. To check the open / close time of CB. 2. Measurement of Tan-delta of CTs. 3. Maintenance of CB & CTs. 4. Tightening of clamps & connectors. | 13.02.23
45 | RQ119561 | 400 KV RAJWEST(RW)-JODHPUR (RS) CKT-1 | Approved | 16-02-2023 08:00 - 16-02-2023 18:00 |  | Planned maintenance at both end. (Alongwith 50 MVAR line reactor at Jodhpur end) | 13.02.23
46 | RQ119297 | 400KV BUS 1 AT CHITTORGARH(RS) | Approved | 16-02-2023 08:00 - 16-02-2023 18:00 | May be given from 1700 Hrs | FOR MAINTAINCE AND TESTING WORK | 13.02.23
47 | RQ119704 | 411-52T TIE BAY - 765/400 KV 1500 MVA ICT 3 AT ANTA(RS) AND FUTURE AT 400 KV ANTA(RS) | Approved | 16-02-2023 08:00 - 16-02-2023 18:00 |  | HALF YEARLY MAINTENANCE of Tie bay of 765/400 KV 1500 MVA ICT 3 and 400kV Anta - Kawai Spare bay at Anta | 13.02.23
48 | RQ119703 | 411-52 D MAIN BAY - 400KV BUS 2 AT ANTA(RS) AND FUTURE AT 400 KV ANTA(RS) | Approved | 16-02-2023 08:00 - 16-02-2023 18:00 |  | HALF YEARLY MAINTENANCE of 400 KV Anta - Kawai Spare | 13.02.23
49 | RQ119354 | 132 KV AMARPURATHEDI(RS)-HISAR(BB) (RS) CKT-1 | Approved | 16-02-2023 08:00 - 16-02-2023 18:00 |  | for Line Maintenance | 13.02.23
50 | RQ119576 | 220 KV RAPS_A(NP)-SAKATPURA(RS) (RS) CKT-1 | Approved | 16-02-2023 08:00 - 16-02-2023 18:00 |  | Quartly maintenance work and Testing of Equipment | 13.02.23
51 | RQ119569 | 220 KV BASSI(PG)-DAUSA(RS) (PG) CKT-1 | Approved | 16-02-2023 09:00 - 16-02-2023 14:00 |  | Half yearly maintenance work | 13.02.23
52 | RQ119284 | 400KV BUS 1 AT ANTA(RS) | Approved | 17-02-2023 08:00 - 17-02-2023 18:00 |  | HALF YEARLY MAINTENANCE | 14.02.23
53 | RQ119250 | 400/220 KV 500 MVA ICT 2 AT AKAL(RS) | Approved | 17-02-2023 08:00 - 17-02-2023 18:00 |  | Maintenance Work | 14.02.23
54 | RQ119358 | 400 KV PHAGI-AJMER (RS) CKT-2 | Approved | 17-02-2023 08:00 - 17-02-2023 18:00 |  | 1. To check the open / close time of CB. 2. Measurement of Tan-delta of CTs. 3. Maintenance of CB & CTs. 4. Tightening of clamps & connectors. | 14.02.23
55 | RQ119559 | 220 KV RAPS_B(NP)-SAKATPURA(RS) (RS) CKT-1 | Approved | 17-02-2023 08:00 - 17-02-2023 18:00 |  | Quartly maintenance work and Testing of Equipment | 14.02.23
56 | RQ119242 | 400/220 KV 315 MVA ICT 1 AT RAJWEST(RW) | Approved | 17-02-2023 08:00 - 17-02-2023 18:00 |  | Planned maintenance | 14.02.23
57 | RQ119816 | 952 T TIE BAY - 400 KV JODHPUR-KANKANI (RS) CKT-2 (RRVPNL) AND 400KV BUS 2 AT JODHPUR(RS) AT 400 KV JODHPUR(RS) (RRVPNL) | Approved | 17-02-2023 08:00 - 17-02-2023 18:00 |  | Quarterly Maintenance | 14.02.23
58 | RQ121487 | 400KV BUS 1 AT CHITTORGARH(RS) | Approved | 17-02-2023 08:00 - 17-02-2023 18:00 | May be given from 1700 Hrs | FOR MAINTAINCE AND TESTING WORK | 14.02.23
59 | RQ121234 | 400 KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-2 | Approved | 17-02-2023 08:00 - 17-02-2023 18:00 | May be given on daily Basis subject to real time grid conditions | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 14.02.23
60 | RQ119570 | 220 KV BASSI(PG)-DAUSA(RS) (PG) CKT-2 | Approved | 17-02-2023 09:00 - 17-02-2023 14:00 |  | Half yearly maintenance work | 14.02.23
61 | RQ119364 | 400 KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 | Approved | 18-02-2023 08:00 - 18-02-2023 18:00 | May be given on daily Basis subject to real time grid conditions | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 15.02.23
62 | RQ121229 | 400 KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 | Approved | 19-02-2023 08:00 - 19-02-2023 18:00 | May be given on daily Basis subject to real time grid conditions | 1. Calibration of line metering CT's and Energy meters. 2.Annual maintenance and testing of Line/Bay equipments. | 16.02.23
63 | RQ119578 | 400 KV JODHPUR-KANKANI (RS) CKT-2 | Approved | 20-02-2023 08:00 - 20-02-2023 18:00 |  | Quaterly Preventive Maintenance and testing work. and 50 MVAR line reactor at Jodhpur. | 17.02.23
64 | RQ119286 | 400KV BUS 2 AT PHAGI(RS) | Approved | 20-02-2023 08:00 - 20-02-2023 18:00 |  | For testing of equipments under man Bus | 17.02.23
65 | RQ119245 | 400/220 KV 500 MVA ICT 4 AT AKAL(RS) | Approved | 20-02-2023 08:00 - 20-02-2023 18:00 |  | Maintenance Work | 17.02.23
66 | RQ119241 | 400/220 KV 315 MVA ICT 1 AT AJMER(RS) | Approved | 20-02-2023 08:00 - 20-02-2023 18:00 |  | Half Yearly maintenance work of associated equipments of 400/220 kV, 315 MVA ICT-I Bay to be carried out by M/s Suncity urja pvt. Ltd. Jaipur | 17.02.23
67 | RQ119356 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 20-02-2023 15:00 - 20-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 17.02.23
68 | RQ119355 | 400 KV BHADLA-JODHPUR (RS) CKT-1 | Approved | 20-02-2023 15:00 - 20-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 17.02.23
69 | RQ119285 | 400KV BUS 2 AT ANTA(RS) | Approved | 21-02-2023 08:00 - 21-02-2023 18:00 |  | HALF YEARLY MAINTENANCE | 18.02.23
70 | RQ119243 | 400/220 KV 315 MVA ICT 3 AT AKAL(RS) | Approved | 21-02-2023 08:00 - 21-02-2023 18:00 |  | Maintenance Work | 18.02.23
71 | RQ119721 | 414 TIE BAY - 400KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 AND FUTURE AT KAWAI SCTPS(APR) | Approved | 21-02-2023 08:00 - 23-02-2023 18:00 |  | Circuit Breaker Overhauling | 18.02.23
72 | RQ121220 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 21-02-2023 15:00 - 21-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 18.02.23
73 | RQ121213 | 400 KV BHADLA-JODHPUR (RS) CKT-1 | Approved | 21-02-2023 15:00 - 21-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 18.02.23
74 |  | 400kV Tie Circuit Breaker of 400kV Jodhpur-Rajwest line at 400kV Jodhpur | Approved | 21-02-2023 09:00 - 21-02-2023 18:00 | may be given from 14:00 Hrs | Quarterly preventive Maintenance and testing work | 18.02.23
75 | RQ119571 | 400 KV AKAL-BARMER (RS) CKT-1 | Approved | 22-02-2023 08:00 - 22-02-2023 18:00 |  | Maintenance Work | 19.02.23
76 | RQ119575 | 400 KV BARMER(RS)-RAJWEST(RW) (RS) CKT-1 | Approved | 22-02-2023 08:00 - 22-02-2023 18:00 |  | Planned maintenance | 19.02.23
77 | RQ119276 | 400KV BUS 1 AT JODHPUR(RS) | Approved | 22-02-2023 08:00 - 22-02-2023 18:00 |  | Quaterly Preventive Maintenance and testing work. | 19.02.23
78 | RQ121221 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 22-02-2023 15:00 - 22-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 19.02.23
79 | RQ121214 | 400 KV BHADLA-JODHPUR (RS) CKT-1 | Approved | 22-02-2023 15:00 - 22-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 19.02.23
80 |  | (+-) 500kV HVDC line from Mundra-Mahendragarh | Subject to WRPC approval | 22-02-2023 10:00 - 23-02-2023 16:00 | ATC-TTC of NR Imort to be curtailed by 1800MW/Export curtailmentt of 1500-2000MW. Subject to WRPC Approval. | For stringing work of 400kV D/C STPS-Babai line at loc no. 81/1 to 81/2 | 19.02.23
81 | RQ119365 | 765 KV ANTA-PHAGI (RS) CKT-2 | Approved | 23-02-2023 08:00 - 23-02-2023 18:00 |  | Maitenance of line bay equipments i.e. CVT, WT, LA & line Isolator & and Maintenance of 3*80 MVAR line Reactors at Phagi | 20.02.23
82 | RQ119553 | 400 KV BHILWARA-CHITTORGARH (RS) CKT-1 | Approved | 23-02-2023 08:00 - 23-02-2023 18:00 | May be given from 1700 Hrs | Routine maintenance of 400 KV Bhilwara-Chittorgarh Ckt-1 Bay & ASSOCIATED BAY EQUIPMENTS | 20.02.23
83 | RQ119549 | 400 KV AKAL-JAISALMER (RS) CKT-1 | Approved | 23-02-2023 08:00 - 23-02-2023 18:00 |  | Maintenance Work | 20.02.23
84 | RQ119282 | 400KV BUS 1 AT AKAL(RS) | Approved | 23-02-2023 08:00 - 23-02-2023 18:00 |  | Maintenance Work | 20.02.23
85 | RQ119560 | 220 KV SAWAIMADHOPUR(RS)-DAUSA(RS) (PG) CKT-1 | Approved | 23-02-2023 08:00 - 23-02-2023 18:00 |  | For Half yearly Maintenance at both end | 20.02.23
86 | RQ119577 | 220 KV RAPS_A(NP)-SAKATPURA(RS) (RS) CKT-2 | Approved | 23-02-2023 08:00 - 23-02-2023 18:00 |  | Quartly maintenance work and Testing of Equipment | 20.02.23
87 | RQ119562 | 400 KV SURATGARH(RVUN)-BIKANER(RS) (RS) CKT-1 | Approved | 23-02-2023 08:00 - 23-02-2023 18:00 | May be given from 1700 Hrs | Routine Bay Maintenance Work | 20.02.23
88 | RQ119550 | 220 KV AGRA(PG)-BHARATPUR(RS) (PG) CKT-1 | Approved | 23-02-2023 08:00 - 23-02-2023 18:00 |  | maintenance of line and bay at 220KV GSS RVPN, Bharatpur | 20.02.23
89 | RQ121215 | 400 KV BHADLA-JODHPUR (RS) CKT-1 | Approved | 23-02-2023 15:00 - 23-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 20.02.23
90 | RQ121222 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 23-02-2023 15:00 - 23-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 20.02.23
91 | RQ119277 | 400KV BUS 2 AT JODHPUR(RS) | Approved | 24-02-2023 08:00 - 24-02-2023 18:00 |  | Quaterly Preventive Maintenance and testing work. | 21.02.23
92 | RQ119568 | 220 KV ANTA(NT)-SAWAIMADHOPUR(RS) (PG) CKT-1 | Approved | 24-02-2023 08:00 - 24-02-2023 18:00 |  | For Half yearly Maintenance at 220kV GSS SWM | 21.02.23
93 | RQ119350 | 765 KV PHAGI(RS)-GWALIOR(PG) (PG) CKT-1 | Approved | 24-02-2023 08:00 - 24-02-2023 18:00 | To be clubbed with sl 32 | For maintenance & testing work of line equipment alongwith 3*80 MVAR line reactor at Phagi | 21.02.23
94 | RQ119283 | 400KV BUS 2 AT AKAL(RS) | Approved | 24-02-2023 08:00 - 24-02-2023 18:00 |  | Maintenance Work | 21.02.23
95 | RQ119548 | 400 KV BIKANER(PG)-BIKANER(RS) (PG) CKT-1 | Approved | 24-02-2023 08:00 - 24-02-2023 18:00 | May be allowed from 1700 Hrs | Routine Bay Maintenance Work | 21.02.23
96 | RQ119556 | 220 KV AGRA(PG)-SIKANDRA(UP) (PG) CKT-1 | Approved | 24-02-2023 08:00 - 24-02-2023 18:00 |  | maintenance of line | 21.02.23
97 | RQ119281 | 400KV BUS 1 AT AJMER(RS) | Approved | 24-02-2023 08:00 - 24-02-2023 18:00 |  | Half Yearly maintenance work of associated equipments of 400 KV Main Bus-I to be carried out by M/s Suncity urja pvt. Ltd. Jaipur | 21.02.23
98 | RQ119343 | 80 MVAR BUS REACTOR NO 1 AT 400KV CHITTORGARH(RS) | Approved | 24-02-2023 08:00 - 24-02-2023 18:00 |  | FOR MAINTAINCE WORK of reactor and bay equipments | 21.02.23
99 | RQ119572 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 24-02-2023 08:00 - 24-02-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 21.02.23
100 | RQ119720 | 409 MAIN BAY - 63 MVAR BUS REACTOR NO 2 AT 400 KV KAWAI SCTPS(APR) | Approved | 24-02-2023 08:00 - 27-02-2023 18:00 |  | Circuit Breaker Overhauling | 21.02.23
101 | RQ119563 | 220 KV LALSOTE(RS)-DAUSA(RS) (PG) CKT-1 | Approved | 24-02-2023 09:00 - 24-02-2023 14:00 |  | Half yearly maintenance work | 21.02.23
102 | RQ121216 | 400 KV BHADLA-JODHPUR (RS) CKT-1 | Approved | 24-02-2023 15:00 - 24-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 21.02.23
103 | RQ121223 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 24-02-2023 15:00 - 24-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 21.02.23
104 | RQ121199 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 25-02-2023 08:00 - 25-02-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 22.02.23
105 | RQ121217 | 400 KV BHADLA-JODHPUR (RS) CKT-1 | Approved | 25-02-2023 15:00 - 25-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 22.02.23
106 | RQ121224 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 25-02-2023 15:00 - 25-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 22.02.23
107 | RQ121200 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 26-02-2023 08:00 - 26-02-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 23.02.23
108 | RQ121225 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 26-02-2023 15:00 - 26-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 23.02.23
109 | RQ121218 | 400 KV BHADLA-JODHPUR (RS) CKT-1 | Approved | 26-02-2023 15:00 - 26-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 23.02.23
110 | RQ119351 | 765 KV PHAGI(RS)-GWALIOR(PG) (PG) CKT-2 | Approved | 27-02-2023 08:00 - 27-02-2023 18:00 | ATC Curtailment of 450 MW In NR Import | For maintenance & testing work of line equipment alongwith 3*80 MVAR line reactor at Phagi | 24.02.23
111 | RQ119573 | 400 KV AKAL-RAMGARH (RS) CKT-1 | Approved | 27-02-2023 08:00 - 27-02-2023 18:00 |  | Maintenance Work | 24.02.23
112 | RQ121201 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 27-02-2023 08:00 - 27-02-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 24.02.23
113 | RQ121226 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 27-02-2023 15:00 - 27-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 24.02.23
114 | RQ121219 | 400 KV BHADLA-JODHPUR (RS) CKT-1 | Approved | 27-02-2023 15:00 - 27-02-2023 20:00 | Shutdown may be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 24.02.23
115 | RQ119574 | 400 KV AKAL-RAMGARH (RS) CKT-2 | Approved | 28-02-2023 08:00 - 28-02-2023 18:00 |  | Maintenance Work | 25.02.23
116 | RQ121202 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 28-02-2023 08:00 - 28-02-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 25.02.23
117 | RQ121203 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 01-03-2023 08:00 - 01-03-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 26.02.23
118 | RQ121204 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 02-03-2023 08:00 - 02-03-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 27.02.23
119 | RQ121205 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 03-03-2023 08:00 - 03-03-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 28.02.23
120 | RQ121206 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 04-03-2023 08:00 - 04-03-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 01.03.23
121 | RQ121207 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 05-03-2023 08:00 - 05-03-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 02.03.23
122 | RQ121208 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 06-03-2023 08:00 - 06-03-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 03.03.23
123 | RQ121209 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 07-03-2023 08:00 - 07-03-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 04.03.23
124 | RQ121210 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 08-03-2023 08:00 - 08-03-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 05.03.23
125 | RQ121211 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 09-03-2023 08:00 - 09-03-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 06.03.23
126 | RQ121212 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 10-03-2023 08:00 - 10-03-2023 18:00 | May be given from 1700 Hrs on Daily basis | Repairing of bridge section of tower at loc 285 (Maintenance work at both station may be performed during the shutdown period) | 07.03.23

## Rejected
S.No. | Shutdown No | Element Name | RPC Status | RPC ShutDown Range | RPC Remarks | Reason
1 | RQ119558 | 220 KV RAPS_B(NP)-DEBARI(RS) (PG) CKT-1 | Rejected | - | PG denied consent | General Maintenance & Tree trimming Work
2 | RQ119359 | 220 KV INDIRA NAGAR(RS)-HEERAPURA(RS) (PG) CKT-1 | Rejected | - | PG denied consent | Quartererly maintenance of Bay Equipment
3 | RQ119353 | 400 KV BHADLA(RS)-BHADLA(PG) (PG) CKT-2 | Rejected | - | PG denied consent | For half yearly/ yearly maintenance work
4 | RQ119352 | 400 KV BHADLA(RS)-BHADLA(PG) (PG) CKT-1 | Rejected | - | PG denied consent | For half yearly/ yearly maintenance work