## Approved
| Shutdown No | Element Name | RPC Status | RPC ShutDown Range | RPC Remarks | Reason | D-3 Req Date
1 | RQ170805 | 400/220 KV 315 MVA ICT 1 AT CHITTORGARH(RS) | Approved | 02-04-2024 08:00 - 06-04-2024 18:00 | Subject to Rajasthan consent/Other ICTs to be in service/Load to be managed by Rajasthan. | FOR Filtration of main tank oil along with MAINTAINCE WORK and Testing work | 30.03.2024
2 | RQ170795 | 400KV BUS 1 AT PHAGI(RS) | Approved | 02-04-2024 17:00 - 02-04-2024 23:00 | May be given from 1700 Hrs | For the tightening of clamps & connectors of inter-connection of 6" IPS Al. tube and interconnection from main Bus to isolator for 400kV Bays. | 30.03.2024
3 | RQ171050 | 400 KV MERTA-RATANGARH (RS) CKT-1 | Approved | 02-04-2024 17:00 - 02-04-2024 23:00 | May be given from 1700 Hrs | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 30.03.2024
4 | RQ171099 | 70152B MAIN BAY - 765/400KV 1500 MVA ICT 1 AT PHAGI(RS) | Approved | 03-04-2024 08:00 - 03-04-2024 18:00 |  | Quarterly Maintenance work | 31.03.2024
5 | RQ170822 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 03-04-2024 17:00 - 03-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 31.03.2024
6 | RQ170841 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 03-04-2024 17:00 - 03-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 31.03.2024
7 | RQ171042 | 400 KV MERTA-KANKANI (RS) CKT-1 | Approved | 03-04-2024 17:00 - 03-04-2024 23:00 | May be given from 1700 Hrs | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 31.03.2024
8 | RQ170829 | 400 KV ANTA-CHHABRA (RS) CKT-1 | Approved | 03-04-2024 17:00 - 03-04-2024 23:00 | May be given from 1700 Hrs | Quarterly Maintenance work | 31.03.2024
9 | RQ171100 | 70152T TIE BAY - 765KV PHAGI(RS)-BHIWANI(PG) (PG) CKT-2 AND 765/400KV 1500 MVA ICT 1 AT PHAGI(RS) | Approved | 04-04-2024 08:00 - 04-04-2024 18:00 |  | Quarterly Maintenance work | 01.04.2024
10 | RQ170819 | 125 MVAR BUS REACTOR NO 1 AT 400KV MERTA(RS) | Approved | 04-04-2024 08:00 - 04-04-2024 18:00 | May be given subject to real time grid conditions | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 01.04.2024
11 | RQ170837 | 220 KV BASSI(PG)-DAUSA(RS) (PG) CKT-1 | Approved | 04-04-2024 08:00 - 04-04-2024 18:00 | May be given subject to real time grid conditions | Quarterly Maintenance work | 01.04.2024
12 | RQ170828 | 400 KV ANTA(RS)-KOTA(PG) (RS) CKT-1 | Approved | 04-04-2024 17:00 - 04-04-2024 23:00 | May be given from 1700 Hrs | Quarterly Maintenance work | 01.04.2024
13 | RQ172666 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 04-04-2024 17:00 - 04-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 01.04.2024
14 | RQ172656 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 04-04-2024 17:00 - 04-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 01.04.2024
15 | RQ170838 | 220 KV BASSI(PG)-DAUSA(RS) (PG) CKT-2 | Approved | 05-04-2024 08:00 - 05-04-2024 18:00 | May be given subject to real time grid conditions | Quarterly Maintenance work | 02.04.2024
16 | RQ171051 | 400 KV AKAL-JODHPUR (RS) CKT-1 | Approved | 05-04-2024 17:00 - 05-04-2024 23:00 | May be given from 1700 Hrs | Preventive Maintenance and testing work. | 02.04.2024
17 | RQ172667 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 05-04-2024 17:00 - 05-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 02.04.2024
18 | RQ172657 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 05-04-2024 17:00 - 05-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 02.04.2024
19 | RQ171046 | 400 KV SURATGARH(RVUN)-RATANGARH(RS) (RS) CKT-2 | Approved | 06-04-2024 17:00 - 06-04-2024 23:00 | May be given from 1700 Hrs | Quarterly maintenance work of bay equipments , isolators and testing work of bay equipments. | 03.04.2024
20 | RQ172658 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 06-04-2024 17:00 - 06-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 03.04.2024
21 | RQ172668 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 06-04-2024 17:00 - 06-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 03.04.2024
22 | RQ172669 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 07-04-2024 17:00 - 07-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 04.04.2024
23 | RQ172659 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 07-04-2024 17:00 - 07-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 04.04.2024
24 | RQ171075 | 704-52B MAIN BAY - 765/400 KV 1500 MVA ICT 1 AT ANTA(RS) (RRVPNL) | Approved | 08-04-2024 08:00 - 08-04-2024 18:00 |  | Quarterly Maintenance & testing work | 05.04.2024
25 | RQ170817 | 63 MVAR BUS REACTOR NO 1 AT 400 KV KAWAI SCTPS(APR) | Approved | 08-04-2024 08:00 - 09-04-2024 18:00 | May be given subject to real time grid conditions. | Annual maintenance and testing of Bay equipments (Bay 401 & 402) and Bus Reactor-1 | 05.04.2024
26 | RQ171108 | 40852T TIE BAY - 400KV PHAGI-HEERAPURA (RS) CKT-1 AND 400KV PHAGI-AJMER (RS) CKT-2 AT PHAGI(RS) | Approved | 08-04-2024 15:00 - 08-04-2024 23:00 | May be given from 1500 Hrs | Quarterly Maintenance work | 05.04.2024
27 | RQ170826 | 400 KV JAISALMER-BARMER (RS) CKT-1 | Approved | 08-04-2024 17:00 - 08-04-2024 23:00 | May be given from 1700 Hrs | Half Yearly Maintanance | 05.04.2024
28 | RQ172670 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 08-04-2024 17:00 - 08-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 05.04.2024
29 | RQ172660 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 08-04-2024 17:00 - 08-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 05.04.2024
30 | RQ171040 | 400 KV BHADLA-JODHPUR (RS) CKT-1 | Approved | 08-04-2024 18:00 - 08-04-2024 23:00 | May be given subject to real time grid conditions | Quaterly Preventive Maintenance and testing work. | 05.04.2024
31 | RQ171074 | 704-52T TIE BAY - 765/400 KV 1500 MVA ICT 1 AT ANTA(RS) (RRVPNL) AND 765 KV ANTA-PHAGI (RS) CKT-1 AT 765 KV ANTA(RS) (RRVPNL) | Approved | 09-04-2024 08:00 - 09-04-2024 18:00 |  | Quarterly Maintenance & testing work | 06.04.2024
32 | RQ170827 | 400 KV JAISALMER-BARMER (RS) CKT-2 | Approved | 09-04-2024 17:00 - 09-04-2024 23:00 | May be given from 1700 Hrs | Half Yearly Maintanance | 06.04.2024
33 | RQ171049 | 400 KV MERTA-HEERAPURA (RS) CKT-1 | Approved | 09-04-2024 17:00 - 09-04-2024 23:00 | May be given from 1700 Hrs | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 06.04.2024
34 | RQ170799 | 400KV BUS 2 AT JODHPUR(RS) | Approved | 09-04-2024 17:00 - 09-04-2024 23:00 | May be given from 1700 Hrs | Quaterly Preventive Maintenance and testing work. | 06.04.2024
35 | RQ172661 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 09-04-2024 17:00 - 09-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 06.04.2024
36 | RQ172671 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 09-04-2024 17:00 - 09-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 06.04.2024
37 | RQ170818 | 63 MVAR BUS REACTOR NO 2 AT 400 KV KAWAI SCTPS(APR) | Approved | 10-04-2024 08:00 - 11-04-2024 18:00 | May be given subject to real time grid conditions. | Annual maintenance and testing of Bay equipments (Bay 401 & 402) and Bus Reactor-2 | 07.04.2024
38 | RQ170824 | 400 KV KANKANI-JAISALMER (RS) CKT-2 | Approved | 10-04-2024 17:00 - 10-04-2024 23:00 | May be given from 1700 Hrs | Half Yearly Maintanance | 07.04.2024
39 | RQ172672 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 10-04-2024 17:00 - 10-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 07.04.2024
40 | RQ172662 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 10-04-2024 17:00 - 10-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 07.04.2024
41 | RQ170823 | 400 KV AKAL-JAISALMER (RS) CKT-1 | Approved | 11-04-2024 17:00 - 11-04-2024 23:00 | May be given from 1700 Hrs | Half Yearly Maintanance | 08.04.2024
42 | RQ172663 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 11-04-2024 17:00 - 11-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 08.04.2024
43 | RQ172673 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 11-04-2024 17:00 - 11-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 08.04.2024
44 | RQ171098 | 70252B MAIN BAY - 765/400KV 1500 MVA ICT 2 AT PHAGI(RS) | Approved | 12-04-2024 08:00 - 12-04-2024 18:00 |  | Quarterly Maintenance work | 09.04.2024
45 | RQ170815 | 400/220 KV 500 MVA ICT 1 AT JAISALMER(RS) | Approved | 12-04-2024 17:00 - 12-04-2024 23:00 | May be given from 1700 Hrs | Half Yearly Maintanance | 09.04.2024
46 | RQ170842 | 400 KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 | Approved | 12-04-2024 17:00 - 12-04-2024 23:00 | May be given from 1700 Hrs | Annual maintenance and testing of Line/Bay equipments. | 09.04.2024
47 | RQ172674 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 12-04-2024 17:00 - 12-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 09.04.2024
48 | RQ172664 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 12-04-2024 17:00 - 12-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 09.04.2024
49 | RQ170831 | 765 KV PHAGI(RS)-BHIWANI(PG) (PG) CKT-1 | Approved | 13-04-2024 08:00 - 13-04-2024 18:00 |  | Maintenance line bay Equipments i.e. CVT, WT & line Isolator. alongwith 240 MVA line reactor at Phagi | 10.04.2024
50 | RQ170816 | 400/220 KV 500 MVA ICT 3 AT JAISALMER(RS) | Approved | 13-04-2024 17:00 - 13-04-2024 23:00 | May be given from 1700 Hrs | Half Yearly Maintanance | 10.04.2024
51 | RQ172665 | 400 KV BIKANER-BHADLA (RS) CKT-2 | Approved | 13-04-2024 17:00 - 13-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 10.04.2024
52 | RQ172675 | 400 KV BIKANER-BHADLA (RS) CKT-1 | Approved | 13-04-2024 17:00 - 13-04-2024 23:00 | May be given from 1700 Hrs | For Tightening of jumper, Missing , Loosening Nut Bolts at various Locations | 10.04.2024
53 | RQ170821 | 125 MVAR BUS REACTOR NO 1 AT 400 KV JAISALMER(RS) | Approved | 14-04-2024 08:00 - 14-04-2024 18:00 | May be given subject to real time grid conditions | maintenance work of bay equipments , isolators and testing work of bay equipments. | 11.04.2024
54 | RQ170809 | 765/400 KV 1500 MVA ICT 2 AT PHAGI(RS) | Approved | 15-04-2024 08:00 - 15-04-2024 18:00 |  | Quarterly Maintenance work | 12.04.2024
55 | RQ171113 | 407 MAIN BAY - 400KV ANTA(RS)-KAWAI SCTPS(APR) (RS) CKT-2 AT KAWAI SCTPS(APR) | Approved | 15-04-2024 08:00 - 16-04-2024 18:00 | Element must remain in service via other bay. | Circuit Breaker Overhauling | 12.04.2024
56 | RQ171054 | 400 KV JODHPUR-KANKANI (RS) CKT-1 | Approved | 15-04-2024 17:00 - 15-04-2024 23:00 | May be given from 1700 Hrs | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 12.04.2024
57 | RQ171097 | 70652T TIE BAY - 765KV PHAGI(RS)-GWALIOR(PG) (UNDEF) CKT-1 AND 765KV ANTA-PHAGI (RS) CKT-1 AT PHAGI(RS) | Approved | 16-04-2024 08:00 - 16-04-2024 18:00 |  | Quarterly Maintenance work | 13.04.2024
58 | RQ170811 | 400/220 KV 315 MVA ICT 1 AT JODHPUR(RS) | Approved | 16-04-2024 17:00 - 16-04-2024 23:00 | May be given from 1700 Hrs | Preventive Maintenance and testing work. | 13.04.2024
59 | RQ171053 | 400 KV BIKANER-MERTA (RS) CKT-1 | Approved | 16-04-2024 17:00 - 16-04-2024 23:00 | May be given from 1700 Hrs | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS alngwith 50 MVAR line reactor at Merta | 13.04.2024
60 | RQ171112 | 413 MAIN BAY - 400KV CHHABRA(RVUN)-KAWAI SCTPS(APR) (RS) CKT-1 AT KAWAI SCTPS(APR) | Approved | 17-04-2024 08:00 - 18-04-2024 18:00 | Element must remain in service via other bay. | Circuit Breaker Overhauling | 14.04.2024
61 | RQ171073 | 704-52A MAIN BAY - 765 KV ANTA-PHAGI (RS) CKT-1 (RRVPNL) AT 765KV ANTA(RS) | Approved | 18-04-2024 08:00 - 18-04-2024 18:00 |  | Quarterly Maintenance & testing work | 15.04.2024
62 | RQ170835 | 220 KV ANTA(NT)-LALSOTE(RS) (PG) CKT-1 | Approved | 18-04-2024 08:00 - 18-04-2024 18:00 | May be given subject to real time grid conditions and NTPC/PG consent. | Quarterly Maintenance work | 15.04.2024
63 | RQ170833 | 220 KV HISSAR(BB)-CHIRAWA(RS) (BB) CKT-1 | Approved | 18-04-2024 08:00 - 18-04-2024 18:00 | May be given subject to real time grid conditions | For Quarterly maintenance work | 15.04.2024
64 | RQ171111 | 40752D MAIN BAY - 400KV PHAGI-HEERAPURA (RS) CKT-2 AT PHAGI(RS) | Approved | 18-04-2024 15:00 - 18-04-2024 23:00 | May be given from 1500 Hrs | Quarterly Maintenance work | 15.04.2024
65 | RQ170800 | 400KV BUS 1 AT MERTA(RS) | Approved | 18-04-2024 17:00 - 18-04-2024 23:00 | May be given from 1700 Hrs | Quaterly Preventive Maintenance and testing work. | 15.04.2024
66 | RQ171039 | 400 KV RAJWEST(RW)-KANKANI (RS) CKT-1 | Approved | 18-04-2024 17:00 - 18-04-2024 23:00 | May be given from 1700 Hrs | Planned maintenance at Rajwest end | 15.04.2024
67 | RQ170813 | 400/220 KV 315 MVA ICT 2 AT JODHPUR(RS) | Approved | 18-04-2024 17:00 - 18-04-2024 23:00 | May be given from 1700 Hrs | Preventive Maintenance and testing work. | 15.04.2024
68 | RQ171076 | 705-52B MAIN BAY - 765/400 KV 1500 MVA ICT 2 AT ANTA(RS) (RRVPNL) | Approved | 19-04-2024 08:00 - 19-04-2024 18:00 |  | Quarterly Maintenance & testing work | 16.04.2024
69 | RQ170801 | 400KV BUS 2 AT MERTA(RS) | Approved | 19-04-2024 17:00 - 19-04-2024 23:00 | May be given from 1700 Hrs | Quaterly Preventive Maintenance and testing work. | 16.04.2024
70 | RQ171043 | 400 KV RAJWEST(RW)-JODHPUR (RS) CKT-1 | Approved | 19-04-2024 17:00 - 19-04-2024 23:00 | May be given from 1700 Hrs | Preventive Maintenance at both end alongwith line reactor at Jodhour . | 16.04.2024
71 | RQ170804 | 400/220 KV 315 MVA ICT 1 AT BABAI(RS) | Approved | 19-04-2024 17:00 - 19-04-2024 23:00 | May be given from 1700 Hrs | Quarterly Maintenance and to attend oil leakage | 16.04.2024
72 | RQ170832 | 765 KV PHAGI(RS)-BHIWANI(PG) (PG) CKT-2 | Approved | 20-04-2024 08:00 - 20-04-2024 18:00 |  | Maintenance line bay Equipments i.e. CVT, WT & line Isolator. alongwith 240 MVA line reactor at Phagi | 17.04.2024
73 | RQ171052 | 400 KV BARMER(RS)-RAJWEST(RW) (RS) CKT-1 | Approved | 20-04-2024 17:00 - 20-04-2024 23:00 | May be given from 1700 Hrs | Planned maintenance | 17.04.2024
74 | RQ170806 | 400/220 KV 315 MVA ICT 1 AT CHHABRA(RVUN) | Approved | 22-04-2024 08:00 - 01-05-2024 18:00 | Subject to Rajasthan consent/Load to be managed by Rajasthan/Details of Load redistribution and load shedding needs to be furnished. | 1. 220 kV bushing repair work of ICT 2. Oil Filteration of ICT. 3. Maintenance Work of Bay elements. | 19.04.2024
75 | RQ170814 | 400/11 KV 80 MVA ST 2 AT KAWAI SCTPS(APR) | Approved | 22-04-2024 08:00 - 22-04-2024 18:00 | May be given subject to real time grid conditions and no unit outage. | Annual maintenance and testing of Bay equipments (Bay 410 & 411) and ST-2 | 19.04.2024
76 | RQ171109 | 40852C MAIN BAY - 400KV PHAGI-HEERAPURA (RS) CKT-1 AT PHAGI(RS) | Approved | 22-04-2024 15:00 - 22-04-2024 23:00 | May be given from 1500 Hrs | Quarterly Maintenance work | 19.04.2024
77 | RQ171055 | 400 KV JODHPUR-KANKANI (RS) CKT-2 | Approved | 22-04-2024 17:00 - 22-04-2024 23:00 | May be given from 1700 Hrs | Quaterly Preventive Maintenance and testing work.alongwith line reactor at Jodhpur. | 19.04.2024
78 | RQ170798 | 400KV BUS 1 AT JODHPUR(RS) | Approved | 22-04-2024 17:00 - 22-04-2024 23:00 | May be given from 1700 Hrs | Quaterly Preventive Maintenance and testing work. | 19.04.2024
79 | RQ171072 | 705-52T TIE BAY - 765/400 KV 1500 MVA ICT 2 AT ANTA(RS) (RRVPNL) AND 240 MVAR LR ON ANTA-PHAGI (RS) CKT-2 @ANTA(RS) AT 765 KV ANTA(RS) (RRVPNL) | Approved | 23-04-2024 08:00 - 23-04-2024 18:00 |  | Quarterly Maintenance & testing work | 20.04.2024
80 | RQ171047 | 400 KV KANKROLI(PG)-JODHPUR(RS) (PG) CKT-1 | Approved | 23-04-2024 08:00 - 23-04-2024 18:00 | ATC Curtailment of 400 MW in NR Export. Subjected to WRPC Consent | Preventive Maintenance and testing work. | 20.04.2024
81 | RQ171110 | 401052D MAIN BAY - 400KV PHAGI-AJMER (RS) CKT-1 AT PHAGI(RS) | Approved | 23-04-2024 15:00 - 23-04-2024 23:00 | May be given from 1500 Hrs | Quarterly Maintenance work | 20.04.2024
82 | RQ170797 | 400KV BUS 1 AT KAWAI SCTPS(APR) | Approved | 23-04-2024 17:00 - 23-04-2024 23:00 | May be given from 1700 Hrs | Annual maintenance and testing of Bus-1 and bus connecting isoaltors. | 20.04.2024
83 | RQ170807 | 400/220 KV 315 MVA ICT 1 AT RATANGARH(RS) | Approved | 23-04-2024 17:00 - 23-04-2024 23:00 | May be given from 1700 Hrs | maintenance work of bay equipments , isolators and testing work of bay equipments. | 20.04.2024
84 | RQ171306 | 400/220 KV 315 MVA ICT 1 AT MERTA(RS) | Approved | 23-04-2024 17:00 - 23-04-2024 23:00 | May be given from 1700 Hrs | Quarterly Maintenance work | 20.04.2024
85 | RQ171071 | 705-52A MAIN BAY - 765 KV ANTA-PHAGI (RS) CKT-2 (RRVPNL) AT 765KV ANTA(RS) | Approved | 24-04-2024 08:00 - 24-04-2024 18:00 |  | Quarterly Maintenance & testing work | 21.04.2024
86 | RQ170839 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-1 | Approved | 24-04-2024 08:00 - 24-04-2024 18:00 | May be given subject to real time grid conditions and BBMB consent. | For Quarterly maintenance work | 21.04.2024
87 | RQ172914 | 400/220 KV 315 MVA ICT 1 AT MERTA(RS) | Approved | 24-04-2024 17:00 - 24-04-2024 23:00 | May be given from 1700 Hrs | Quarterly Maintenance work | 21.04.2024
88 | RQ171045 | 400 KV SURATGARH(RVUN)-RATANGARH(RS) (RS) CKT-1 | Approved | 25-03-2024 08:00 - 15-04-2024 18:00 | CEA clearance/PTCC clearance and Annexure B-7 required before charging/ subject to real time Grid conditions/May be preponed and completed before 15th April,2024. Approved shutdown date and timings shall be stricitly adhered. | 1.Erection work of D+9 Tower location number 64. 2.Erection work of D+0 Tower location number 62. 3.Erection work of D+6 Tower location number 65. 4.Dismantle work of existing towers with no. 62, 63 , 64 & 65. Tech welding work of tower no. 62, 64 & 64. 5. Old conductor dismantle and clamping. 6. Stringing of section 62X-63 final sag. 7. Stringing of section 62-62X final sag. 8. Stringing of section 61-62 final sag. 9. Stringing of section 63-64 final sag. 10. Stringing of section 64-65 final sag. 11. Stringing of section 65-66 final sag. 12. Work of jumpers for al towers. 13. Final check of complete stringing work of all towers throughout. | 22.04.2024
89 | RQ171077 | 706-52B MAIN BAY - 765/400 KV 1500 MVA ICT 3 AT ANTA(RS) (RRVPNL) | Approved | 25-04-2024 08:00 - 25-04-2024 18:00 |  | Quarterly Maintenance & testing work | 22.04.2024
90 | RQ170840 | 220 KV CHARKHI DADRI(BB)-KHETRI(RS) (BB) CKT-2 | Approved | 25-04-2024 08:00 - 25-04-2024 18:00 | May be given subject to real time grid conditions and BBMB consent. | For Quarterly maintenance work | 22.04.2024
91 | RQ170830 | 220 KV SAWAIMADHOPUR(RS)-DAUSA(RS) (PG) CKT-1 | Approved | 25-04-2024 08:00 - 25-04-2024 18:00 | May be given subject to real time grid conditions | Quarterly Maintenance work | 22.04.2024
92 | RQ170820 | 50 MVAR BUS REACTOR NO 1 AT 400KV RATANGARH(RS) | Approved | 25-04-2024 08:00 - 25-04-2024 18:00 | May be given subject to real time grid conditions | maintenance work of bay equipments , isolators and testing work of bay equipments. | 22.04.2024
93 | RQ170825 | 220 KV AGRA(PG)-BHARATPUR(RS) (PG) CKT-1 | Approved | 25-04-2024 08:00 - 25-04-2024 18:00 | May be given subject to real time grid conditions | maintenance of line and bay at 220KV GSS RVPN, Bharatpur | 22.04.2024
94 | RQ171107 | 401352T TIE BAY - 125 MVAR BUS REACTOR NO 1 AT 400KV PHAGI(RS) AND FUTURE | Approved | 25-04-2024 15:00 - 25-04-2024 23:00 | May be given from 1500 Hrs | Quarterly Maintenance work | 22.04.2024
95 | RQ171305 | 400/220 KV 315 MVA ICT 2 AT MERTA(RS) | Approved | 25-04-2024 17:00 - 25-04-2024 23:00 | May be given from 1700 Hrs | Quarterly Maintenance work | 22.04.2024
96 | RQ170810 | 400/220 KV 315 MVA ICT 2 AT BABAI(RS) | Approved | 25-04-2024 17:00 - 25-04-2024 23:00 | May be given from 1700 Hrs | Quarterly Maintenance and to attend oil leakage | 22.04.2024
97 | RQ171096 | 70752B MAIN BAY - 765KV ANTA-PHAGI (RS) CKT-2 AT PHAGI(RS) | Approved | 26-04-2024 08:00 - 26-04-2024 18:00 |  | Quarterly Maintenance work | 23.04.2024
98 | RQ170834 | 220 KV LALSOTE(RS)-DAUSA(RS) (PG) CKT-1 | Approved | 26-04-2024 08:00 - 26-04-2024 18:00 | May be given subject to real time grid conditions | Quarterly Maintenance work | 23.04.2024
99 | RQ172913 | 400/220 KV 315 MVA ICT 2 AT MERTA(RS) | Approved | 26-04-2024 17:00 - 26-04-2024 23:00 | May be given from 1700 Hrs | Quarterly Maintenance work | 23.04.2024
100 | RQ170836 | 220 KV BADARPUR(NT)-ALWAR MIA(RS) (RS) CKT-1 | Approved | 27-04-2024 08:00 - 27-04-2024 18:00 | May be given subject to real time grid conditions | For Bay / Line maintenance & tree trimming work | 24.04.2024
101 | RQ170808 | 400/220 KV 315 MVA ICT 2 AT RATANGARH(RS) | Approved | 27-04-2024 17:00 - 27-04-2024 23:00 | May be given from 1700 Hrs | maintenance work of bay equipments , isolators and testing work of bay equipments. | 24.04.2024
102 | RQ173000 | 220 KV BADARPUR(NT)-ALWAR MIA(RS) (RS) CKT-1 | Approved | 28-04-2024 08:00 - 28-04-2024 18:00 | May be given subject to real time grid conditions | For Bay / Line maintenance & tree trimming work | 25.04.2024
103 | RQ171070 | 706-52T TIE BAY - 765/400 KV 1500 MVA ICT 3 AT ANTA(RS) (RRVPNL) AND FUTURE AT 765 KV ANTA(RS) (RRVPNL) | Approved | 29-04-2024 08:00 - 29-04-2024 18:00 |  | Quarterly Maintenance & testing work | 26.04.2024
104 | RQ170796 | 400KV BUS 2 AT PHAGI(RS) | Approved | 29-04-2024 17:00 - 29-04-2024 23:00 | May be given from 1700 Hrs | For the tightening of clamps & connectors of inter-connection of 6" IPS Al. tube and interconnection from main Bus to isolator for 400kV Bays. | 26.04.2024
105 | RQ171041 | 400 KV BHADLA-MERTA (RS) CKT-1 | Approved | 29-04-2024 18:00 - 29-04-2024 23:00 | May be given subject to real time grid conditions | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS | 26.04.2024
106 | RQ170812 | 400/220 KV 315 MVA ICT 3 AT RATANGARH(RS) | Approved | 30-04-2024 17:00 - 30-04-2024 23:00 | May be given from 1700 Hrs | maintenance work of bay equipments , isolators and testing work of bay equipments. | 27.04.2024

## Rejectd
Shutdown No | Element Name | RPC Status | RPC ShutDown Range | RPC Remarks | Reason | D-3 Req Date
RQ171048 | 400 KV KOTA(PG)-MERTA(RS) (PG) CKT-1 | Rejected | - | Consent denied by Powergrid with comments"Line shutdown for bay quarterly miantenance work NOT allowed. Club the work with Powergrid line shutdown later" | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS
RQ171044 | 400 KV SHREE CEMENT(SCL)-MERTA(RS) (PG) CKT-1 | Rejected | - | Consent denied by Powergrid with comments"Line shutdown for qarterly miantenance work NOT allowed. Club the work with Powergrid line shutdown later" | QUARTERLY MAINT.WORK OF BAY & EQUIPMENTS